## SDC Calculation
Wastewater |  | Make entries in gray cells.
| Fixture Type | Quantity | Fixture Units (1)
1 | Bar sink | 0 | 0
1 | Bathtub | 0 | 0
2 | Bathtub/shower combination | 0 | 0
1 | Bidet | 0 | 0
3 | Clothes washer | 0 | 0
2 | Dishwasher | 0 | 0
2 | Kitchen sink | 0 | 0
2 | Laundry sink | 0 | 0
1 | Lavatory | 0 | 0
2 | Shower | 0 | 0
3 | Water closet | 0 | 0
1 | Other | 0 | 0
| Total | 0 | 0
| Total SDC |  | 7410
(1) From the Uniform Plumbing Code
|  |  |  | Multiplier | 1

## Charge Analysis
Development of SDC Fee per EDU
Reimbursement Cost Basis (1) | 41103363.059
Growth Capacity Requirements (EDU) (2) | 28201
Reimbursement $/EDU | 1457.5144
Improvement Cost Basis (3) | 14005902.7475
New Growth (EDU) (2) | 2353
Improvement$/EDU | 5952.3599
TOTAL SDC/EDU | 7410
SDC/FU | 411.6667
1 - From the Inventory of Current System
2 - From the Planning Data
3 - From the CIP List
Note on B3: Cost of infrastructure already constructed in the City - Existing Debt - Existing Reserves
Note on B4: Total number of Equivalent Dwelling Units projected at full buildout of the City.
Note on B7: Reimbursement Cost divided by the total number of EDU
Note on B10: Costs of Capital Improvement Costs needed to serve full buildout of the City
Note on B11: Number of new EDUs expected based on the Planning Projections in the Master Plan
Note on B13: New project costs divided by the amount of new units.
Note on B16: The reimbursement + the improvement is the total maximum allowable SDC
Note on B17: The total SDC is divided by 18 to get the cost per fixture unit.

## Planning Data
18 Fixture Units = EDU = Equivalent Dwelling Unit
| Average Dry Weather Flow ADWF (gpcd) |  |  |  | 99
| Peak Instantaneous Flow PIF (gpcd) |  |  |  | 326
| Total projected unit flow |  |  |  | 425
| Persons per Household |  |  |  | 2.72
| Total design unit flow per EDU |  |  |  | 1156
| Projected design flow at the plant (MGD) |  |  |  | 28.2
| EDU's |  |  |  | 24394
|  | Total Projected Design Flow | Total | Additional
| Year | (MGD) | EDUs | EDUs
| 2023 | 28.2 | 25848
| 2037 | 32.6 | 28201 | 2353 | 20 | Years
| Total Change | 4.4 |  | 2353 | 190.35 | Annual EDUs
[5 empty] | 15.61% | Growth

## Inventory of Current System
Asset # | Function | Category | Description | Date Acquired | Replacement Cost | % SDC (1) | SDC Eligible Replacement Cost
100 | Treatment | Land | WWTP Land 1 | 1984-06-26 | 196780.2098 | 100% | 196780.2098
204 | Pump Stations | Land | Charles St Pump Station | 1971-12-31 | 6952.7066 | 14% | 973.3789
240 | Treatment | Land | WWTP Land 2 | 1947-12-31 | 263.3901 | 100% | 263.3901
254 | Pump Stations | Land | College St | 1969-12-31 | 2700.2152 | 100% | 2700.2152
255 | Treatment | Land | Old WWTP 1 | 1969-12-31 | 25716.3357 | 100% | 25716.3357
260 | Pump Stations | Land | Eighth St. | 1956-12-31 | 157.1967 | 100% | 157.1967
791 | Treatment | Equipment | Clarifier 3 | 1986-12-31 | 140142.7072 | 3% | 4204.2812
795 | Treatment | Equipment | Crane 1 | 1987-12-31 | 4374.9055 | 0% | 0
804 | Treatment | Equipment | Clarifier 2 | 1986-12-31 | 140142.7072 | 3% | 4204.2812
825 | Treatment | Equipment | Clarifier 1 | 1986-12-31 | 140142.7072 | 3% | 4204.2812
834 | Treatment | Equipment | Pump 15 | 1987-12-31 | 2654.0764 | 0% | 0
836 | Lift Station | Equipment | Lift Charles St | 1978-12-31 | 135943.7763 | 14% | 19032.1287
840 | Treatment | Equipment | Meter tank | 1990-12-31 | 1524.1168 | 0% | 0
843 | Treatment | Equipment | Sander belt/disc | 1987-12-31 | 1444.3114 | 0% | 0
848 | Treatment | Equipment | Pump 16 | 1987-12-31 | 2654.0764 | 0% | 0
871 | Treatment | Equipment | Pump-Turbine 4 | 1987-12-31 | 14566.559 | 0% | 0
894 | Treatment | Buildings & Improvements | WWTP Floor | 1991-12-31 | 5905.8482 | 0% | 0
899 | Treatment | Equipment | Tank Fuel 1 | 1987-12-31 | 1111.0087 | 0% | 0
907 | Treatment | Equipment | Tank Fuel 2 | 1987-12-31 | 4937.8166 | 0% | 0
910 | Treatment | Equipment | Belt Conveyor 2 | 1987-12-31 | 21509.1292 | 0% | 0
911 | Treatment | Equipment | Tank-air | 1987-12-31 | 4705.7392 | 0% | 0
919 | Treatment | Buildings & Improvements | Old WWTP Piping | 1950-12-31 | 1546383.7745 | 0% | 0
923 | Treatment | Buildings & Improvements | WWTP Plant Piping 1 | 1987-12-31 | 38238.4519 | 0% | 0
924 | Treatment | Buildings & Improvements | WWTP Plant Piping 2 | 1987-12-31 | 176852.8398 | 0% | 0
925 | Treatment | Buildings & Improvements | WWTP Plant Piping 3 | 1987-12-31 | 8364.6613 | 0% | 0
926 | Treatment | Equipment | Platform-steel | 1987-12-31 | 10754.5646 | 0% | 0
930 | Treatment | Buildings & Improvements | WWTP Plant Piping 4 | 1987-12-31 | 358485.4862 | 0% | 0
931 | Treatment | Buildings & Improvements | WWTP Plant Piping 5 | 1987-12-31 | 9559.613 | 0% | 0
933 | Treatment | Buildings & Improvements | WWTP Plant Piping 6 | 1987-12-31 | 16729.3227 | 0% | 0
936 | Treatment | Buildings & Improvements | WWTP Plant Piping 7 | 1987-12-31 | 28678.8389 | 0% | 0
941 | Treatment | Equipment | Workbench 1 | 1987-12-31 | 829.2569 | 0% | 0
942 | Treatment | Equipment | Workbench 2 | 1987-12-31 | 829.2569 | 0% | 0
944 | Treatment | Equipment | Workbench 3 | 1987-12-31 | 2693.579 | 0% | 0
946 | Treatment | Equipment | Platform 2 | 1987-12-31 | 1612.444 | 0% | 0
948 | Treatment | Equipment | Hopper Feeder | 1987-12-31 | 16047.904 | 0% | 0
949 | Treatment | Buildings & Improvements | WWTP Plant Piping 8 | 1987-12-31 | 23899.0324 | 0% | 0
952 | Treatment | Equipment | Bay Workbench | 1987-12-31 | 1554.8691 | 0% | 0
953 | Treatment | Buildings & Improvements | WWTP Plant Piping 9 | 1987-12-31 | 57357.6778 | 0% | 0
954 | Treatment | Equipment | Dft 1 Workbench | 1987-12-31 | 2693.579 | 0% | 0
956 | Treatment | Buildings & Improvements | WWTP Plant Piping 10 | 1987-12-31 | 100375.9361 | 0% | 0
957 | Treatment | Equipment | Press-hydraulic | 1987-12-31 | 6456.1952 | 0% | 0
959 | Treatment | Equipment | Arm loading sludge | 1987-12-31 | 9381.8516 | 0% | 0
961 | Treatment | Buildings & Improvements | Sludge Pump Stat. | 1987-12-31 | 527729.1506 | 0% | 0
963 | Treatment | Buildings & Improvements | Clarifier 1 | 1987-12-31 | 387618.6042 | 3% | 11628.5581
965 | Treatment | Buildings & Improvements | Solid Handling | 1987-12-31 | 1594914.7662 | 0% | 0
967 | Treatment | Buildings & Improvements | KCM Phase III | 1986-12-31 | 1243312.2205 | 0% | 0
968 | Treatment | Buildings & Improvements | KCM Phase II | 1986-12-31 | 2156887.7705 | 0% | 0
969 | Treatment | Buildings & Improvements | Capitalized Interest | 1986-12-31 | 1167723.3477 | 0% | 0
970 | Treatment | Buildings & Improvements | Outfall | 1986-12-31 | 870428.2209 | 0% | 0
974 | Treatment | Buildings & Improvements | RDS Distrib | 1987-12-31 | 59872.2609 | 0% | 0
975 | Treatment | Buildings & Improvements | Chlorine Bldg | 1987-12-31 | 293182.8614 | 0% | 0
978 | Treatment | Buildings & Improvements | Chlorine Contact Tk | 1987-12-31 | 417245.5039 | 0% | 0
979 | Treatment | Buildings & Improvements | Equalization Basin | 1987-12-31 | 1120884.3713 | 0% | 0
980 | Treatment | Buildings & Improvements | RAS Distr Box | 1987-12-31 | 39914.8406 | 0% | 0
981 | Treatment | Buildings & Improvements | Sludge Tank | 1987-12-31 | 429590.0454 | 0% | 0
982 | Treatment | Buildings & Improvements | Clarifier Distr Box | 1987-12-31 | 103543.7924 | 3% | 3106.3138
983 | Treatment | Buildings & Improvements | Operation Bldg | 1987-12-31 | 2176767.5716 | 0% | 0
985 | Treatment | Buildings & Improvements | Oxidation Ditch 2 | 1987-12-31 | 1575163.4998 | 0% | 0
986 | Treatment | Buildings & Improvements | Oxidation Ditch 1 | 1987-12-31 | 1575163.4998 | 0% | 0
990 | Treatment | Buildings & Improvements | Clarifier 3 | 1987-12-31 | 387618.6042 | 0% | 0
991 | Treatment | Buildings & Improvements | Clarifier 2 | 1987-12-31 | 387618.6042 | 0% | 0
994 | Treatment | Buildings & Improvements | KCM Phase I | 1986-12-31 | 1153451.4999 | 0% | 0
997 | Treatment | Buildings & Improvements | KCM-Design | 1986-12-31 | 2869882.4403 | 0% | 0
1005 | Treatment | Buildings & Improvements | Site Work 1 | 1986-12-31 | 50117.3602 | 0% | 0
1006 | Treatment | Buildings & Improvements | Site Work 2 | 1986-12-31 | 692993.8212 | 0% | 0
1008 | Treatment | Buildings & Improvements | Influent Pump | 1986-12-31 | 1385319.0058 | 0% | 0
1011 | Collection | Infrastructure | FY 72-73 Sewer Lines | 1973-12-31 | 15034.0413 | 20% | 3006.8083
1012 | Collection | Infrastructure | FY 89-90 Sewer Lines | 1990-12-31 | 7967.7055 | 20% | 1593.5411
1014 | Collection | Infrastructure | FY 70-71 Sewer Lines | 1971-12-31 | 394422.4688 | 20% | 78884.4938
1016 | Collection | Infrastructure | FY 71-72 Sewer Lines | 1972-12-31 | 133744.2952 | 20% | 26748.859
1024 | Collection | Infrastructure | FY 73-74 Sewer Lines | 1974-12-31 | 166842.8247 | 20% | 33368.5649
1025 | Collection | Infrastructure | FY 69-70 Sewer Lines | 1970-12-31 | 2122409.24 | 20% | 424481.848
1027 | Collection | Infrastructure | FY 75-76 Sewer Lines | 1976-12-31 | 257787.5431 | 20% | 51557.5086
1029 | Collection | Infrastructure | FY 79-80 Sewer Lines | 1980-12-31 | 489046.698 | 20% | 97809.3396
1030 | Collection | Infrastructure | FY 80-81 Sewer Lines | 1981-12-31 | 1425197.7894 | 20% | 285039.5579
1032 | Collection | Infrastructure | FY 59-60 Sewer Lines | 1960-12-31 | 617036.6352 | 20% | 123407.327
1034 | Collection | Infrastructure | FY 87-88 Sewer Lines | 1988-12-31 | 596995.4915 | 20% | 119399.0983
1035 | Collection | Infrastructure | FY 82-83 Sewer Lines | 1983-12-31 | 10433.9004 | 20% | 2086.7801
1036 | Collection | Infrastructure | FY 64-65 Sewer Lines | 1965-12-31 | 207511.2042 | 20% | 41502.2408
1037 | Collection | Infrastructure | FY 65-66 Sewer Lines | 1966-12-31 | 840585.1457 | 20% | 168117.0291
1039 | Collection | Infrastructure | FY 62-63 Sewer Lines | 1963-12-31 | 432367.696 | 20% | 86473.5392
1041 | Collection | Infrastructure | FY 78-79 Sewer Lines | 1979-12-31 | 195112.3052 | 20% | 39022.461
1043 | Collection | Infrastructure | FY 47-48 Sewer Lines | 1948-12-31 | 482927.0123 | 20% | 96585.4025
1044 | Collection | Infrastructure | FY 77-78 Sewer Lines | 1978-12-31 | 231776.85 | 20% | 46355.37
1045 | Collection | Infrastructure | FY 88-89 Sewer Lines | 1989-12-31 | 268207.1774 | 20% | 53641.4355
1046 | Collection | Infrastructure | FY 88-89 Sewer Lines | 1989-12-31 | 77494.3304 | 20% | 15498.8661
1047 | Collection | Infrastructure | FY 58-59 Sewer Lines | 1959-12-31 | 97042.2222 | 20% | 19408.4444
1107 | Treatment | Equipment | Megohmeter | 1993-04-09 | 1423.1402 | 0% | 0
1113 | Treatment | Equipment | Locker | 1993-04-09 | 646.2081 | 0% | 0
1118 | Treatment | Equipment | Sampler | 1993-01-12 | 10731.8563 | 0% | 0
1119 | Treatment | Equipment | Clarifier 1 | 1992-08-14 | 39787.92 | 3% | 1193.6376
1154 | Treatment | Equipment | Safety Block 1 | 1992-09-11 | 1679.4906 | 0% | 0
1156 | Treatment | Equipment | Processor Board-Cntr | 1993-04-09 | 1867.1133 | 0% | 0
1158 | Treatment | Equipment | Calibrator-Cntr | 1993-03-10 | 2413.6237 | 0% | 0
1160 | Treatment | Equipment | Compressor 2 | 1992-09-10 | 1410.759 | 0% | 0
1161 | Treatment | Equipment | Serial Interface-Cntr | 1992-10-29 | 4953.477 | 0% | 0
1177 | Collection | Infrastructure | FY 92-93 Sewer Lines | 1993-06-30 | 438377.5393 | 20% | 87675.5079
1183 | Treatment | Equipment | DC output card-Cntr | 1993-07-31 | 1021.5099 | 0% | 0
1204 | Treatment | Equipment | Reducer-Clar | 1993-10-31 | 1297.803 | 0% | 0
1234 | Treatment | Equipment | Clarifier 2 | 1993-10-31 | 37571.9367 | 3% | 1127.1581
1248 | General Equipment | Equipment | Pickup 94-508 | 1994-01-31 | 26776.64 | 0% | 0
1265 | Collection | Infrastructure | Valeri Park Sub | 1994-01-31 | 3653.8286 | 0% | 0
1338 | Treatment | Equipment | I/O Board Assembl | 1994-06-01 | 1397.9691 | 0% | 0
1379 | Treatment | Equipment | DC Output Card | 1994-06-30 | 1313.4875 | 0% | 0
1382 | Treatment | Equipment | Pump 18 | 1991-09-11 | 877.2153 | 0% | 0
1401 | Pump Stations | Land | Dayton Avenue Pump Station | 1994-06-30 | 56452.9093 | 0% | 0
1402 | Pump Stations | Buildings & Improvements | Dayton Ave Pump Station WW | 1994-06-30 | 114172.8413 | 0% | 0
1403 | Pump Stations | Buildings & Improvements | Dayton Ave PS Piping | 1994-06-30 | 369846.024 | 0% | 0
1405 | Pump Stations | Equipment | Pumps Dayton Ave PS | 1994-06-30 | 136724.4364 | 0% | 0
1406 | Pump Stations | Equipment | Compressor Dayton Ave PS | 1994-06-30 | 10353.8621 | 0% | 0
1407 | Pump Stations | Equipment | Meter Flow Dayton Ave PS | 1994-06-30 | 7388.6188 | 0% | 0
1408 | Pump Stations | Equipment | Telemetry Dayton Ave PS | 1994-06-30 | 1183.6474 | 0% | 0
1409 | Treatment | Buildings & Improvements | Dayton Ave Wet Well | 1994-06-30 | 129960.4182 | 0% | 0
1410 | Collection | Infrastructure | FY 93-94 Sewer Lines | 1994-06-30 | 815458.5141 | 20% | 163091.7028
1421 | Treatment | Equipment | Clarifier 3 | 1994-08-31 | 56029.3951 | 3% | 1680.8819
1516 | Treatment | Equipment | Cleaner-SewerVactor | 1994-12-31 | 305642.3113 | 0% | 0
1520 | Treatment | Equipment | Pump 19 | 1995-01-31 | 1878.9471 | 0% | 0
1533 | General Equipment | Equipment | Generator-Portable | 1995-03-31 | 1214.8536 | 0% | 0
1654 | Collection | Infrastructure | FY 94-95 Sewer Lines | 1995-06-30 | 909401.6758 | 20% | 181880.3352
1719 | Treatment | Land | Old WWTP 2 | 1947-01-01 | 26075.6172 | 0% | 0
1720 | Treatment | Land | 11th St. | 1969-04-01 | 27302.1764 | 0% | 0
1746 | Treatment | Land | WWTP Land 3 | 1984-11-07 | 178414.0569 | 0% | 0
1748 | Treatment | Land | WWTP Land 4 | 1984-06-26 | 446035.1423 | 0% | 0
1759 | Lift Station | Equipment | Lift Stat Rotat Pump College St | 1996-04-30 | 4732.515 | 100% | 4732.515
1761 | Lift Station | Equipment | Lift Stat Pkg Syst College St | 1977-12-31 | 148132.6525 | 100% | 148132.6525
1777 | Collection | Infrastructure | FY 95-96 Sewer Lines | 1996-06-30 | 2067809.0504 | 20% | 413561.8101
1850 | Collection | Infrastructure | FY 91-92 Sewer Lines | 1992-12-31 | 976524.5222 | 20% | 195304.9044
1861 | General Equipment | Equipment | Radio-portable 8 | 1997-03-31 | 2651.3516 | 0% | 0
1862 | General Equipment | Equipment | Radio-portable 9 | 1997-03-31 | 2651.3516 | 0% | 0
1864 | General Equipment | Equipment | Radio-portable 10 | 1997-03-31 | 2651.3516 | 0% | 0
1865 | General Equipment | Equipment | Radio-portable 11 | 1997-03-31 | 2651.3516 | 0% | 0
1866 | General Equipment | Equipment | Radio-portable 12 | 1997-03-31 | 2651.3516 | 0% | 0
1867 | General Equipment | Equipment | Radio-portable 13 | 1997-03-31 | 2651.3516 | 0% | 0
1870 | General Equipment | Equipment | Radio-portable 14 | 1997-03-31 | 2651.3516 | 0% | 0
1872 | General Equipment | Equipment | Radio-portable 15 | 1997-03-31 | 2651.3516 | 0% | 0
1876 | General Equipment | Equipment | Stat Radio-Control | 1997-03-31 | 5600.7001 | 0% | 0
1879 | General Equipment | Equipment | Charger | 1997-03-31 | 1071.2767 | 0% | 0
1899 | General Equipment | Equipment | I & C Modifica | 1997-06-30 | 718193.2565 | 0% | 0
1920 | General Equipment | Equipment | Sewage Sampler | 1997-08-14 | 7085.8304 | 0% | 0
1925 | General Equipment | Equipment | Scope Meter | 1997-09-05 | 3524.8972 | 0% | 0
1926 | General Equipment | Equipment | Vacuum-Wet/Dry | 1997-08-22 | 3908.9698 | 0% | 0
1927 | General Equipment | Equipment | Hydraulic Puller Set | 1997-09-03 | 4307.326 | 0% | 0
1934 | Collection | Equipment | Telemetry Upgrade | 1997-09-01 | 25392.6661 | 0% | 0
1970 | General Equipment | Equipment | Truck 507-98 | 1998-07-10 | 70326.1141 | 0% | 0
1988 | Collection | Infrastructure | Sewer Tap | 1998-04-30 | 3739.3159 | 0% | 0
1989 | Treatment | Equipment | Pressure Transducer 1 | 1998-05-27 | 1520.6429 | 0% | 0
1990 | Treatment | Equipment | Pressure Transducer 2 | 1998-05-27 | 1520.6429 | 0% | 0
1997 | Treatment | Equipment | Tapping Machi ne | 1998-06-16 | 5755.0553 | 0% | 0
2037 | Treatment | Equipment | Composter | 1998-06-30 | 7350006.7568 | 0% | 0
2040 | Treatment | Equipment | WTP Elect Upgrade | 1998-06-30 | 167701.0617 | 0% | 0
2044 | Collection | Infrastructure | FY 97-98 Sewer Lines | 1998-06-30 | 49146.7573 | 20% | 9829.3515
2047 | General Equipment | Equipment | Portable Radio 3 | 1998-07-24 | 2993.2903 | 0% | 0
2050 | General Equipment | Equipment | Portable Radio 4 | 1998-08-07 | 2993.2903 | 0% | 0
2057 | General Equipment | Equipment | Eyewash Upgrade | 1998-08-31 | 7870.277 | 0% | 0
2072 | General Equipment | Equipment | Portable Radio 5 | 1998-11-25 | 2443.3627 | 0% | 0
2073 | General Equipment | Equipment | Portable Radio 6 | 1998-11-25 | 2443.3627 | 0% | 0
2074 | General Equipment | Equipment | Portable Radio 7 | 1998-11-25 | 2443.3627 | 0% | 0
2080 | General Equipment | Equipment | Pickup 7 | 1999-01-27 | 29686.0695 | 0% | 0
2113 | General Equipment | Equipment | Variable Spd Dr | 1999-03-31 | 35009.2746 | 0% | 0
2115 | Treatment | Buildings & Improvements | Vacuum Blower | 1999-04-30 | 6283.716 | 0% | 0
2120 | Treatment | Equipment | Valves/Actuator 1 | 1999-04-26 | 7833.1008 | 0% | 0
2121 | Treatment | Equipment | Valves/Actuator 2 | 1999-04-26 | 7833.1008 | 0% | 0
2142 | Treatment | Buildings & Improvements | Conveyor Rebuild | 1999-04-23 | 37432.9936 | 0% | 0
2143 | Treatment | Equipment | Variable Freq Drive 2 | 1999-02-11 | 4106.8572 | 0% | 0
2143.1 | Treatment | Equipment | Install VFD 1 | 1999-04-27 | 7511.2848 | 0% | 0
2144 | Treatment | Equipment | Variable Freq Drive 3 | 1999-02-11 | 4106.8572 | 0% | 0
2144.1 | Treatment | Equipment | Install VFD 2 | 1999-04-27 | 7511.2848 | 0% | 0
2145 | Treatment | Equipment | Sawdust Bin Cover | 1998-11-06 | 4084.7663 | 0% | 0
2159 | Treatment | Buildings & Improvements | Handrails | 1999-06-14 | 4791.7823 | 0% | 0
2160 | Collection | Infrastructure | 1998-99 Lines | 1999-06-30 | 21491.8526 | 20% | 4298.3705
2162 | Pump Stations | Buildings & Improvements | Eighth St. Pump Station | 1999-06-30 | 34905.6831 | 40% | 13962.2732
2163 | Collection | Infrastructure | MiddleBrook Relocate | 1999-06-30 | 84177.7721 | 0% | 0
2189 | General Equipment | Equipment | Saw-Band | 1999-08-19 | 6969.5387 | 0% | 0
2191 | Treatment | Equipment | Fan 1 Jaybird Misting System | 1999-09-16 | 3208.2858 | 0% | 0
2192 | Treatment | Equipment | Fan 2 Jaybird Misting System | 1999-09-16 | 3208.2858 | 0% | 0
2197 | Treatment | Equipment | Actuator/Controller | 1999-12-02 | 4620.3266 | 0% | 0
2202 | Treatment | Equipment | Trash Pump | 2000-01-13 | 2010.8843 | 0% | 0
2211 | Treatment | Equipment | Valve Actuator 1 | 2000-02-02 | 8146.7045 | 0% | 0
2212 | Treatment | Equipment | Valve Actuator 2 | 2000-02-02 | 8146.7045 | 0% | 0
2221 | General Equipment | Equipment | Handheld Meter Reader | 2000-04-28 | 7781.2481 | 0% | 0
2230 | Treatment | Equipment | Conveyor Rebuild | 2000-03-28 | 14530.8251 | 0% | 0
2247 | Treatment | Equipment | Generator 2 | 2000-06-12 | 51583.5549 | 0% | 0
2267 | Collection | Infrastructure | FY 99-00 City Sewer Lines | 2000-06-30 | 6986.4417 | 20% | 1397.2883
2282 | Treatment | Equipment | Screw Conveyor | 2000-07-17 | 32172.5058 | 0% | 0
2314 | Treatment | Equipment | Robotic Total Station | 2001-03-23 | 24043.5965 | 0% | 0
2318 | Treatment | Equipment | Circuit Breaker | 2001-05-22 | 11312.5121 | 0% | 0
2320 | Collection | Infrastructure | FY 00-01 City Sewer Lines | 2001-06-30 | 81482.0654 | 20% | 16296.4131
2322 | Collection | Buildings & Improvements | Manholes | 2001-06-30 | 34416.6909 | 0% | 0
2323 | Pump Stations | Buildings & Improvements | Sheridan St Pump | 2001-06-30 | 412435.0606 | 40% | 164974.0243
2324 | Pump Stations | Buildings & Improvements | Charles St Main | 2001-06-30 | 70387.3367 | 14% | 9854.2271
2325 | Pump Stations | Buildings & Improvements | Charles St Pump | 2001-06-30 | 207105.2199 | 14% | 28994.7308
2326 | Pump Stations | Buildings & Improvements | Andrews St Pump | 2001-06-30 | 203591.42 | 5% | 10179.571
2327 | Treatment | Buildings & Improvements | Composter | 2001-06-30 | 240954.7224 | 0% | 0
2329 | Treatment | Buildings & Improvements | WWTP Door Hardware | 2001-06-30 | 33376.6165 | 0% | 0
2341 | General Equipment | Equipment | Pickup 534-01 | 2001-10-30 | 31530.0683 | 0% | 0
2346 | Treatment | Equipment | Flow Meter Monitoring Station | 2002-01-09 | 29316.3867 | 0% | 0
2348 | Treatment | Equipment | Variable Freq Drive 4 | 2002-05-30 | 26138.5037 | 0% | 0
2353 | Treatment | Equipment | Amp Breaker-100 | 2002-06-26 | 10752.2923 | 0% | 0
2354 | Treatment | Equipment | Amp Breaker-400 | 2002-06-26 | 11529.293 | 0% | 0
2364 | Treatment | Equipment | VFD Replacement | 2002-06-30 | 172405.7103 | 0% | 0
2371 | Collection | Infrastructure | FY 01-02 City Sewer Lines | 2002-06-30 | 319636.4476 | 20% | 63927.2895
2375 | Treatment | Equipment | Mailing Machine | 2002-09-19 | 10764.8707 | 0% | 0
2377 | Treatment | Equipment | VFD Upgrade | 2002-09-30 | 8601.9137 | 0% | 0
2381 | Treatment | Equipment | Diesel Fuel Tank | 2003-05-08 | 18265.1116 | 0% | 0
2387 | Treatment | Equipment | Pump Base | 2003-06-25 | 11463.024 | 0% | 0
2388 | Treatment | Equipment | Software Work Director/Waterview | 2003-06-25 | 12854.0572 | 0% | 0
2390 | Collection | Infrastructure | FY 02-03 City Sewer Lines | 2003-06-30 | 1976225.9846 | 20% | 395245.1969
2402 | Collection | Infrastructure | FY 98-99 Developer Sewer Lines | 1999-06-30 | 554223.7476 | 0% | 0
2404 | Collection | Infrastructure | FY 99-00 Developer Sewer Lines | 2000-06-30 | 206159.3601 | 0% | 0
2406 | Collection | Infrastructure | FY 00-01 Developer Sewer Lines | 2001-06-30 | 780558.1852 | 0% | 0
2408 | Collection | Infrastructure | FY 01-02 Developer Sewer Lines | 2002-06-30 | 212302.5506 | 0% | 0
2433 | Treatment | Buildings & Improvements | Fernwood Rd Pump Station | 2004-06-30 | 1611221.5325 | 0% | 0
2434 | Collection | Infrastructure | FY 03-04 City Sewer Lines | 2004-06-30 | 354838.6987 | 20% | 70967.7397
2435 | Collection | Infrastructure | FY 03-04 Developer Sewer Lines | 2004-06-30 | 1384404.5053 | 0% | 0
2457 | Treatment | Equipment | Return Room Piping Replacement | 2004-11-18 | 9066.2824 | 0% | 0
2458 | Treatment | Equipment | Reclaim Pump #1 | 2005-06-30 | 13155.624 | 0% | 0
2463 | Collection | Infrastructure | FY 2004-05 City Sewer Lines LID | 2005-06-30 | 1413730.6707 | 0% | 0
2464 | Collection | Infrastructure | FY 2004-05 Developer Sewer Lines | 2005-06-30 | 1624219.1932 | 0% | 0
2465 | Treatment | Equipment | Headworks Improvements | 2005-06-30 | 614600.6567 | 0% | 0
2478 | Treatment | Buildings & Improvements | Chehalem Sewer Pump Station & Lines | 2005-06-30 | 1281609.0533 | 23% | 294770.0823
2479 | Treatment | Equipment | Creekside Pump Station Improvements | 2005-06-30 | 45336.866 | 40% | 18134.7464
2496 | Treatment | Equipment | Composter Energy Improvements | 2006-02-02 | 638545.4492 | 0% | 0
2498 | General Equipment | Equipment | Tractor Loader & Mower | 2006-03-09 | 28278.4413 | 0% | 0
2508 | Treatment | Equipment | WWTP Crane | 2006-06-30 | 11674.8562 | 0% | 0
2516 | Pump Stations | Equipment | Generator-Backup Andrews Pump Station | 2006-06-30 | 29867.0863 | 5% | 1493.3543
2517 | Collection | Infrastructure | FY 2005-06 City Sewer Lines | 2006-06-30 | 198850.0699 | 20% | 39770.014
2518 | Collection | Infrastructure | FY 2005-06 Developer Sewer | 2006-06-30 | 528175.3242 | 0% | 0
2529 | General Equipment | Equipment | WWTP Truck 527-08 -2008 Ford F350 | 2007-06-30 | 55895.6794 | 0% | 0
2547 | Collection | Infrastructure | FY 2006-07 Developer Sewer Lines | 2007-06-30 | 735536.2951 | 0% | 0
2578 | Collection | Infrastructure | Wastewater Line N Arterial S-Curve | 2008-06-30 | 794375.3896 | 100% | 794375.3896
2581 | Collection | Infrastructure | 2007-08 Developer Contributed WW Lines | 2008-06-30 | 364004.4085 | 0% | 0
2609.2 | Collection | Infrastructure | Effluent Reuse Pipelines-WW | 2009-06-30 | 553983.3192 | 100% | 553983.3192
2612 | Collection | Infrastructure | 2008-09 Developer Contributed Wastewater Lines | 2009-06-30 | 76502.6755 | 0% | 0
2635 | Collection | Infrastructure | W Sheridan/N Harrison WW Improvements | 2010-06-30 | 379745.5608 | 100% | 379745.5608
2716 | Collection | Infrastructure | Animal Shelter WW Lines | 2013-06-30 | 55320.9489 | 100% | 55320.9489
2778 | Collection | Infrastructure | Wynooski-Riverfront Utilities - relocate trunk line | 2014-06-30 | 2427437.6612 | 100% | 2427437.6612
2781 | Collection | Infrastructure | Reuse Line Relocation (Bypass Ph 1) | 2014-05-31 | 31666.0453 | 100% | 31666.0453
Sewer Lines | Collection | Infrastructure | Highland at Hess Creek Phase 4 & 5 Developer Contributed | 2017-06-30 | 58128.331 | 0% | 0
Sewer Lines | Collection | Infrastructure | South Springbrook (Bypass) (Wastewater Lines) | 2017-06-30 | 77376.7191 | 100% | 77376.7191
Sewer Lines | Collection | Infrastructure | Shellie Park Developer Contributed | 2017-06-30 | 87133.5427 | 0% | 0
Sewer Lines | Collection | Infrastructure | Edwood 8" sewer 176 LF | 2014-06-30 | 21475.2737 | 100% | 21475.2737
Sewer Lines | Collection | Infrastructure | 2nd Street Parking Lot Rehab (Wastewater Lines) | 2016-06-30 | 63912.9636 | 100% | 63912.9636
Sewer Lines | Collection | Infrastructure | Heritage 8" sewer 286 LF | 2014-06-30 | 34907.0812 | 100% | 34907.0812
Sewer Lines | Collection | Infrastructure | Inflow/Infiltration - Aquarius, Vittoria Way, Madrona, Coffey Ln | 2017-06-30 | 250361.9244 | 100% | 250361.9244
Sewer Lines | Collection | Infrastructure | Aquarious Street Lateral Replacement (I&I) | 2016-06-30 | 145819.4998 | 100% | 145819.4998
Sewer Lines | Collection | Infrastructure | Meridian St Sewer (I&I) | 2016-06-30 | 489385.141 | 100% | 489385.141
2598 | Pump Stations | Land | HWY 240 WW Pump Station 305 W Illinois | 2009-06-30 | 98706.5796 | 100% | 98706.5796
2649 | Pump Stations | Equipment | Generator at Charles St Pump Station | 2011-06-30 | 24182.1912 | 14% | 3385.5068
2650 | Pump Stations | Equipment | Generator for Dayton Ave-Pump Station | 2011-06-30 | 43036.9156 | 0% | 0
2668 | Pump Stations | Buildings & Improvements | HWY 240 Pump Station | 2011-06-30 | 2136730.1147 | 100% | 2136730.1147
CIP | Pump Stations | CIP | Dayton Pump Station Design | 2015-06-30 | 382390.4812 | 0% | 0
2571 | Treatment | Equipment | Wireless bridge WWTP | 2008-06-30 | 10868.6944 | 100% | 10868.6944
2592 | Treatment | Equipment | Server for Public Works | 2009-06-30 | 10849.1336 | 100% | 10849.1336
2599.1 | Treatment | Equipment | City-Wide Wireless Network-Wastewater | 2009-06-30 | 36718.2396 | 100% | 36718.2396
2600 | Treatment | Equipment | Replacement pump-Inf Pump #3 | 2009-06-30 | 88313.3033 | 100% | 88313.3033
2601.1 | Treatment | Equipment | New key system for Operations Bldg/Stat | 2009-06-30 | 8027.6748 | 100% | 8027.6748
2608.2 | Treatment | Buildings & Improvements | Effluent Reuse Facility-WW | 2009-06-30 | 2450498.4847 | 100% | 2450498.4847
2610.2 | Treatment | Buildings & Improvements | Effluent Reuse Membrane-WW | 2009-06-30 | 484603.6321 | 100% | 484603.6321
2611 | Treatment | Buildings & Improvements | WWTP Generator/Building | 2009-06-30 | 5325958.834 | 100% | 5325958.834
2614 | Treatment | Equipment | 8LVP-BHC Pressure Blower | 2010-06-30 | 13581.4522 | 100% | 13581.4522
2615 | Treatment | Equipment | Heat pump replacement-Operations Bldg | 2010-06-30 | 18103.2478 | 100% | 18103.2478
2625 | Treatment | Land | WWTP Land Expansion 19.68 acres (sold 9.74 ac) | 2010-06-30 | 1211997.0328 | 100% | 1211997.0328
2626 | Treatment | Equipment | Live bottom for composter replacement | 2010-06-30 | 52635.2333 | 100% | 52635.2333
2627 | Treatment | Equipment | Composter conveyor chains (replacement) | 2010-06-30 | 22773.3396 | 100% | 22773.3396
2637 | Treatment | Equipment | WWTP Sawdust Dryer | 2010-06-30 | 1230748.9773 | 100% | 1230748.9773
2638 | Treatment | Equipment | Influent Pump #2 | 2010-06-30 | 43292.5782 | 100% | 43292.5782
2639 | Treatment | Equipment | Influent Pump #1 | 2010-06-30 | 43292.5782 | 100% | 43292.5782
2653 | Treatment | Equipment | Sludge Pump to Belt Filter Press | 2011-06-30 | 24397.9751 | 100% | 24397.9751
2667 | Treatment | Buildings & Improvements | Security Fencing at WWTP-FEDERAL GRANT | 2011-06-30 | 36180.9791 | 100% | 36180.9791
2669 | Treatment | Equipment | Jet Milling Machine | 2011-06-30 | 13273.1123 | 100% | 13273.1123
2702 | Treatment | Buildings & Improvements | Steel Utility Building and Construction | 2013-06-30 | 51227.9963 | 100% | 51227.9963
2724 | Treatment | Equipment | Sawdust Silo Unloader | 2014-06-30 | 48361.5177 | 100% | 48361.5177
2734 | Treatment | Equipment | WWTP Frontage Sign | 2014-06-30 | 19256.7537 | 100% | 19256.7537
2797 | Treatment | Equipment | Essco Vertical Pump | 2015-12-30 | 15541.8457 | 100% | 15541.8457
2798 | Treatment | Equipment | Cornell DP Pump | 2015-09-23 | 9151.3423 | 100% | 9151.3423
2825 | Treatment | Equipment | 7.5 Ton WWTP Heat Pump | 2017-06-22 | 15786.6063 | 100% | 15786.6063
2832 | Treatment | Buildings & Improvements | Composter Building Roof Replacement | 2017-06-30 | 48698.3162 | 100% | 48698.3162
2833 | Treatment | Buildings & Improvements | Disinfection Building Roof Replacement | 2017-06-30 | 40590.7246 | 100% | 40590.7246
2834 | Treatment | Equipment | WWTP Hypochlorite | 2017-06-30 | 997537.8893 | 100% | 997537.8893
2772A | Treatment | Buildings & Improvements | 520 W 3rd St - Building | 2015-06-30 | 105672.8317 | 100% | 105672.8317
2773A | Treatment | Land | 520 W 3rd St - Land | 2015-06-30 | 139089.3474 | 100% | 139089.3474
2806A | Treatment | Equipment | WWTP RRE (4th Clarifier) | 2016-06-30 | 5074181.4741 | 100% | 5074181.4741
2806B | Treatment | Equipment | WWTP RRE (Dewatering System) | 2016-06-30 | 4526970.4899 | 100% | 4526970.4899
2806C | Treatment | Equipment | WWTP RRE (Headworks and Influent Pump Station) | 2016-06-30 | 18562326.0413 | 100% | 18562326.0413
2813B | Treatment | Equipment | Video Inspection System - Vcam-5 control module and Vloc Cam Receiver | 2016-09-14 | 5434.7831 | 0% | 0
2824A | Treatment | Buildings & Improvements | PWA Building - 500 W 3rd St | 2017-06-30 | 21507.2769 | 100% | 21507.2769
CIP | Treatment | CIP | Villa rd-Haworth to Crestview Culvert Imps. | 2016-06-30 | 643088.8899 | 100% | 643088.8899
CIP | Treatment | CIP | Oxidation Ditches (#2) | 2017-06-30 | 157298.6904 | 0% | 0
CIP | Treatment | CIP | Oxidation Ditch Rotor Aerator #8 | 2017-06-30 | 64774.6285 | 0% | 0
2898 | Equipment |  | Dayton Pump Station System, Pumps, and Piping | 2019-06-30 | 1246961.5472 | 50% | 623480.7736
2899 | Infrastructure |  | Dayton Pump Station Infrastructure | 2019-06-30 | 441894.495 | 50% | 220947.2475
2900 | Land |  | Dayton Pump Station Land Improvements | 2019-06-30 | 40004.7466 | 50% | 20002.3733
2901 | Buildings & Improvements |  | Dayton Pump Station Building Improvements | 2019-06-30 | 52076.3453 | 50% | 26038.1727
2902 | Equipment |  | Dayton Pump Station Air Conditioning Unit | 2019-06-30 | 8293.1786 | 50% | 4146.5893
2982 | Buildings & Improvements |  | Oxidation Ditches | 2022-06-30 | 779217.8211 | 11% | 85713.9603
2983 | Infrastructure |  | WWTP Solar Panel Project (Solar Field) | 2022-06-30 | 879085.0697 | 0% | 0
2984 | Buildings & Improvements |  | Operations Building Remodel | 2022-06-30 | 460388.2519 | 0% | 0
2985 | Buildings & Improvements |  | WWTP Sawdust Bays | 2022-06-30 | 851723.9782 | 0% | 0
CIP 0003 | CIP |  | Chehalem Sewer Extension | 2019-06-30 | 1670277.0309 | 93% | 1553357.6387
CIP 0021 | CIP |  | PWM Building C - Office Space Addition | 2020-06-30 | 7163.4457 | 20% | 1432.6891
CIP 0030 | CIP |  | N Elliott Wastewater Pipeline | 2022-06-30 | 33588.5848 | 0% | 0
CIP 0034 | CIP |  | Fuel Station | 2022-06-30 | 19797.6093 | 20% | 3959.5219
Sewer Lines 0010 | Collection | Infrastructure | 4,964 ft of WW Pipe & Grouting of 101 lateral connections | 2018-06-30 | 203178.7063 | 50% | 101589.3531
Sewer Lines 0011 | Collection | Infrastructure | 8th Street Utility Replacement (Sewer Pipe) | 2018-06-30 | 99781.361 | 50% | 49890.6805
Sewer Lines 0012 | Collection | Infrastructure | Nova Grace Developer Contributed | 2018-06-30 | 18312.4876 | 0% | 0
Sewer Lines 0013 | Collection | Infrastructure | Columbia Estates Developer Contributed | 2018-06-30 | 88946.3685 | 0% | 0
Sewer Lines 0014 | Collection | Infrastructure | Gracie's 1, 2, and 3 Developer Contributed | 2018-06-30 | 389375.8084 | 0% | 0
Sewer Lines 0015 | Collection | Infrastructure | Hazelwood Developer Contributed | 2018-06-30 | 132711.0539 | 0% | 0
Sewer Lines 0016 | Collection | Infrastructure | Dutchman Developer Contributed | 2019-06-30 | 106742.5787 | 0% | 0
Sewer Lines 0017 | Collection | Infrastructure | Page Landing Developer Contributed | 2019-06-30 | 78674.2978 | 0% | 0
Sewer Lines 0018 | Collection | Infrastructure | Fifth St Pipe Replacement | 2019-06-30 | 430509.5237 | 50% | 215254.7619
Sewer Lines 0019 | Collection | Infrastructure | Dutchman 2 Developer Contributed | 2020-06-30 | 40446.8235 | 0% | 0
Sewer Lines 0020 | Collection | Infrastructure | Kings Landing 2 Developer Contributed | 2020-06-30 | 58037.6018 | 0% | 0
Sewer Lines 0021 | Collection | Infrastructure | Harding School Developer Contributed | 2020-06-30 | 34942.2262 | 0% | 0
Sewer Lines 0022 | Collection | Infrastructure | Eastland Developer Contributed | 2020-06-30 | 31591.6018 | 0% | 0
Sewer Lines 0023 | Collection | Infrastructure | River Run 1 & 2 Developer Contributed | 2020-06-30 | 171240.8415 | 0% | 0
Sewer Lines 0024 | Collection | Infrastructure | River Run 1 & 2 Off Site Developer Contributed | 2020-06-30 | 202473.4478 | 50% | 101236.7239
Sewer Lines 0025 | Collection | Infrastructure | Sixth Street Sewer Rehab | 2020-06-30 | 614561.9906 | 50% | 307280.9953
Sewer Lines 0026 | Collection | Infrastructure | Sewer / Lateral replacements 5th Street - Wynooski | 2020-06-30 | 378243.3519 | 50% | 189121.676
Sewer Lines 0027 | Collection | Infrastructure | Wastewater Line Replacements - 2nd, 3rd, 6th st | 2020-06-30 | 720193.1944 | 50% | 360096.5972
Sewer Lines 0028 | Collection | Infrastructure | Kings Landing 3&4 Developer Contributed | 2021-06-30 | 171603.0822 | 0% | 0
Sewer Lines 0029 | Collection | Infrastructure | Hess Creek Lining | 2022-06-30 | 29407.476 | 0% | 0
Sewer Lines 0030 | Collection | Infrastructure | Crestview Drive Sewer | 2022-06-30 | 500157.2783 | 100% | 500157.2783
Sewer Lines 0031 | Collection | Infrastructure | Riverlands Developer Contributed | 2022-06-30 | 75366.6717 | 0% | 0
Sewer Lines 0032 | Collection | Infrastructure | Edgewater PUD Developer Contributed | 2022-06-30 | 78439.8758 | 0% | 0
Sewer Lines 0033 | Collection | Infrastructure | Crestview Crossing PUD Ph 1 Developer Contributed | 2022-06-30 | 760398.4971 | 20% | 152079.6994
Sewer Lines 0034 | Collection | Infrastructure | Crestview Crossing Offsite Sewer Ext Developer Contributed | 2022-06-30 | 132147.7758 | 50% | 66073.8879
Equipment | Equipment | Equipment | 2025 Freightliner Vactor Truck | 2025-05-29 | 744444 | 100% | 744444
CIP | Buildings & Improvements | Buildings & Improvements | WWTP PLC Replacement (adding value to the plant) $979,474 | 2025-05-31 | 979474 | 100% | 979474
|  |  | Hess Creek Phase 1 - CIPP |  |  | 2% | 0
| Total |  |  |  | 125488582.3121 |  | 59744907.059
-18641544
[6 empty] | Total SDC Eligible | 41103363.059

## CIP List
Project | Estimate Const Cost 2025 | % SDC Eligible | $ Eligible
WWTP Hydraulic Improvements | 509088 | 14.37% | 73181.4
Wastewater Master Plan (3) | 318180 | 50% | 159090
Springbrook Road | 5636028.4 | 19.72% | 1111628.7171
Secondary Clarifiers ( 2025 est: $15.37M) 97% SDC eligible | WiP | 97% | 0
Secondary Clarifiers ( 2025 est: $15.37M) 97% SDC eligible | 7685000 | 97% | 7454450
Secondary Clarifier #5 (duplicate - and empty) | 0 | 22.11% | 0
Riverfront Infrastructure | 5077092.2 |  | 0
Riverfront Industrial Infrastructure | 1223932.4 | 100% | 1223932.4
River Street | 5412241.8 | 12.34% | 667718.6881
PW Fleet Mech Building update | 600000 | 100% | 600000
Providence Infrastructure | 1839080.4 | 100% | 1839080.4
Pinehurst Court | 337270.8 | 0% | 0
Oxidation Ditch Expansion (re-priced 2025 est: $17.551M for qty 2) 88% SDC eligible | WiP | 88% | 0
Oxidation Ditch Expansion (#4 priced at est: $17.551M for qty 2) 88% SDC eligible | 8775500 | 88% | 7722440
Maintenance Yard Improvements | 852722.4 | 20.07% | 171122.5969
Main and Wynooski Streets | 653329.6 | 1.22% | 7967.4341
Lift Station Improvements (short term) | 125150.8 | 0.9797% | 1226.11
Lift Station Improvements (long-term) | 486815.4 | 10.93% | 53225.1504
I/I Projects | 2863620 | 50% | 1431810
I/I Projects | 3340890 | 50% | 1670445
I/I Projects | 3340890 | 50% | 1670445
HWY 240 Lift Station Upsize | 680905.2 | 19.16% | 130481.8335
Hess Creek Phase 3 - Lift Station | 2692863.4 | 1.98% | 53324.0277
Hess Creek Phase 2 - Parallel Gravity Line | 7912076 | 1.97% | 155885.3897
Hess Creek Phase 1 - CIPP | 45800.6534 | 2%
Equalization Basin Rehabilitation ( 2025 est: $0.98M) 0% SDC eligible | 980000 | 0% | 0
Dehydration Unit Burner Rebuild | 68939 | 0% | 0
Composting Aerated Piles ( 2025 est: $3M) 61% SDC eligible | WiP | 61% | 0
Chlorine Contact Basin ( 2025 est: $1.933M) 100% SDC eligible | WiP | 100% | 0
Chehalem Drive Phase 2 - Buildout Infrastructure | 1049994 | 0% | 0
Chehalem Drive Phase 1 - 20-year Infrastructure | 2351350.2 | 100% | 2351350.2
Chehalem and Creekside LS Displacement/Future Trunkline | 3703615.2 | 25.46% | 942873.4
Charles and Andrew LS Displacement | 1176205.4 | 0% | 0
| 0 |  | 0
| 0 |  | 0
| 0 |  | 0
| 0 |  | 0
| 0 |  | 0
| 0 |  | 0
| 0 |  | 0
| 0 |  | 0
| 0 |  | 0
| 0 |  | 0
0
| 0 |  | 0
0
|  | TOTAL CIP SDC COSTS | 29491677.7475
| 0 | Reserves | 15485775
14005902.7475