## SDC Calculation
Wastewater |  | Make entries in gray cells.
| Fixture Type | Quantity | Fixture Units (1)
1 | Bar sink | 0 | 0
1 | Bathtub | 0 | 0
4 | Bathtub/shower combination | 0 | 0
1 | Bidet | 0 | 0
4 | Clothes washer | 0 | 0
1.5 | Dishwasher | 0 | 0
1.5 | Kitchen sink | 0 | 0
1.5 | Laundry sink | 0 | 0
1 | Lavatory | 0 | 0
2 | Shower | 0 | 0
2.5 | Water closet | 0 | 0
1 | Other | 0 | 0
| Total | 0 | 0
| Total SDC |  | 6039
(1) From the Uniform Plumbing Code
|  |  |  | Multiplier | 1

## Charge Analysis
Development of SDC Fee per EDU
Reimbursement Cost Basis (1) | 33389304.7581 | Cost of infrastructure already constructed in the City - Existing Debt - Existing Reserves
Growth Capacity Requirements (EDU) (2) | 28201 | Total number of Equivalent Dwelling Units projected at full buildout of the City.
Reimbursement $/EDU | 1183.9759 | Reimbursement Cost divided by the total number of EDU
Improvement Cost Basis (3) | 11423469.4353 | Costs of Capital Improvement Costs needed to serve full buildout of the City
New Growth (EDU) (2) | 2353 | Number of new EDUs expected based on the Planning Projections in the Master Plan
Improvement$/EDU | 4854.8531 | New project costs divided by the amount of new units.
TOTAL SDC/EDU | 6039 | The reimbursement + the improvement is the total maximum allowable SDC
SDC/FU | 335.5 | The total SDC is divided by 18 to get the cost per fixture unit.
1 - From the Inventory of Current System
2 - From the Planning Data
3 - From the CIP List
Note on B3: Cost of infrastructure already constructed in the City - Existing Debt - Existing Reserves
Note on B4: Total number of Equivalent Dwelling Units projected at full buildout of the City.
Note on B7: Reimbursement Cost divided by the total number of EDU
Note on B10: Costs of Capital Improvement Costs needed to serve full buildout of the City
Note on B11: Number of new EDUs expected based on the Planning Projections in the Master Plan
Note on B13: New project costs divided by the amount of new units.
Note on B16: The reimbursement + the improvement is the total maximum allowable SDC
Note on B17: The total SDC is divided by 18 to get the cost per fixture unit.

## Planning Data
18 Fixture Units = EDU = Equivalent Dwelling Unit
| Average Dry Weather Flow ADWF (gpcd) |  |  |  | 99
| Peak Instantaneous Flow PIF (gpcd) |  |  |  | 326
| Total projected unit flow |  |  |  | 425
| Persons per Household |  |  |  | 2.72
| Total design unit flow per EDU |  |  |  | 1156
| Projected design flow at the plant (MGD) |  |  |  | 28.2
| EDU's |  |  |  | 24394
|  | Total Projected Design Flow | Total | Additional
| Year | (MGD) | EDUs | EDUs
| 2023 | 28.2 | 25848
| 2037 | 32.6 | 28201 | 2353 | 20 | Years
| Total Change | 4.4 |  | 2353 | 190.35 | Annual EDUs
[5 empty] | 15.61% | Growth

## Inventory of Current System
Asset # | Function | Category | Contributed | Description | Date Acquired | Original Cost | Accumulated Depreciation | Net Book Value | ENR-CCI | Replacement Cost | % Depr. | % SDC (1) | SDC Eligible Original Cost | SDC Eligible Replacement Cost
From the Fixed Asset System as of June 30, 2017
100 | Treatment | Land |  | WWTP Land 1 | 1984-06-26 | 75000 | 0 | 75000 | 2.6237 | 196780.2098 | 0% | 100% | 75000 | 196780.2098
204 | Pump Stations | Land |  | Charles St Pump Station | 1971-12-31 | 1010.5 | 0 | 1010.5 | 6.8805 | 6952.7066 | 0% | 14% | 141.47 | 973.3789
240 | Treatment | Land |  | WWTP Land 2 | 1947-12-31 | 10 | 0 | 10 | 26.339 | 263.3901 | 0% | 100% | 10 | 263.3901
254 | Pump Stations | Land |  | College St | 1969-12-31 | 315 | 0 | 315 | 8.5721 | 2700.2152 | 0% | 100% | 315 | 2700.2152
255 | Treatment | Land |  | Old WWTP 1 | 1969-12-31 | 3000 | 0 | 3000 | 8.5721 | 25716.3357 | 0% | 100% | 3000 | 25716.3357
260 | Pump Stations | Land |  | Eighth St. | 1956-12-31 | 10 | 0 | 10 | 15.7197 | 157.1967 | 0% | 100% | 10 | 157.1967
486 | Treatment | Equipment |  | Meter-Oxygen | 1978-12-31 | 498.95 | 498.95 | 0 | 3.9186 | 1955.1812 | 100% | 0% | 0 | 0
490 | Treatment | Equipment |  | Converter 1 | 1991-12-31 | 989 | 989 | 0 | 2.2498 | 2225.0986 | 100% | 0% | 0 | 0
547 | Treatment | Equipment |  | Motor control center 1 | 1987-12-31 | 1742.4 | 1742.4 | 0 | 2.4689 | 4301.8258 | 100% | 0% | 0 | 0
548 | Treatment | Equipment |  | Motor control center 2 | 1987-12-31 | 121484 | 121484 | 0 | 2.4689 | 299932.8567 | 100% | 0% | 0 | 0
549 | Treatment | Equipment |  | Motor control center-pump | 1987-12-31 | 15488 | 15488 | 0 | 2.4689 | 38238.4519 | 100% | 0% | 0 | 0
550 | Treatment | Equipment |  | Motor control center-Cntr | 1987-12-31 | 95832 | 95832 | 0 | 2.4689 | 236600.4209 | 100% | 0% | 0 | 0
554 | Treatment | Equipment |  | Motor control center-Blow | 1987-12-31 | 27104 | 27104 | 0 | 2.4689 | 66917.2907 | 100% | 0% | 0 | 0
677 | Treatment | Equipment |  | Hoist 1 | 1987-12-31 | 4143 | 4143 | 0 | 2.4689 | 10228.6871 | 100% | 0% | 0 | 0
731 | Treatment | Equipment |  | Hoist 2 | 1987-12-31 | 3308 | 3308 | 0 | 2.4689 | 8167.1487 | 100% | 0% | 0 | 0
746 | Treatment | Equipment |  | Rotor Aerator 1 | 1987-12-31 | 127391 | 127391 | 0 | 2.4689 | 314516.6981 | 100% | 0% | 0 | 0
747 | Treatment | Equipment |  | Rotor Aerator 2 | 1987-12-31 | 127391 | 127391 | 0 | 2.4689 | 314516.6981 | 100% | 0% | 0 | 0
748 | Treatment | Equipment |  | Rotor Aerator 3 | 1987-12-31 | 127391 | 127391 | 0 | 2.4689 | 314516.6981 | 100% | 0% | 0 | 0
753 | Treatment | Equipment |  | Rotor Aerator 4 | 1987-12-31 | 127391 | 127391 | 0 | 2.4689 | 314516.6981 | 100% | 0% | 0 | 0
755 | Treatment | Equipment |  | Rotor Aerator 5 | 1987-12-31 | 127391 | 127391 | 0 | 2.4689 | 314516.6981 | 100% | 0% | 0 | 0
757 | Treatment | Equipment |  | Rotor Aerator 6 | 1997-12-31 | 127391 | 127391 | 0 | 1.8671 | 237857.9766 | 100% | 0% | 0 | 0
759 | Treatment | Equipment |  | Rotor Aerator 7 | 1987-12-31 | 127391 | 127391 | 0 | 2.4689 | 314516.6981 | 100% | 0% | 0 | 0
767 | Treatment | Equipment |  | Pump Sludge 1 | 1987-12-31 | 4163 | 4163 | 0 | 2.4689 | 10278.0653 | 100% | 0% | 0 | 0
771 | Treatment | Equipment |  | Pump Sludge 2 | 1987-12-31 | 2034 | 2034 | 0 | 2.4689 | 5021.7595 | 100% | 0% | 0 | 0
775 | Treatment | Equipment |  | Pump Sludge 3 | 1987-12-31 | 4163 | 4163 | 0 | 2.4689 | 10278.0653 | 100% | 0% | 0 | 0
781 | Treatment | Equipment |  | Pump 5 | 1987-12-31 | 2034 | 2034 | 0 | 2.4689 | 5021.7595 | 100% | 0% | 0 | 0
788 | Treatment | Equipment |  | Pump 6 | 1987-12-31 | 2034 | 2034 | 0 | 2.4689 | 5021.7595 | 100% | 0% | 0 | 0
789 | General Equipment | Equipment |  | Tool chest 1 | 1987-12-31 | 1980 | 1980 | 0 | 2.4689 | 4888.4384 | 100% | 0% | 0 | 0
791 | Treatment | Equipment |  | Clarifier 3 | 1986-12-31 | 55333 | 55333 | 0 | 2.5327 | 140142.7072 | 100% | 3% | 1659.99 | 4204.2812
795 | Treatment | Equipment |  | Crane 1 | 1987-12-31 | 1772 | 1772 | 0 | 2.4689 | 4374.9055 | 100% | 0% | 0 | 0
804 | Treatment | Equipment |  | Clarifier 2 | 1986-12-31 | 55333 | 55333 | 0 | 2.5327 | 140142.7072 | 100% | 3% | 1659.99 | 4204.2812
813 | Treatment | Equipment |  | Pump 10 | 1987-12-31 | 8600 | 8600 | 0 | 2.4689 | 21232.6114 | 100% | 0% | 0 | 0
814 | Treatment | Equipment |  | Pump 11 | 1987-12-31 | 8600 | 8600 | 0 | 2.4689 | 21232.6114 | 100% | 0% | 0 | 0
816 | Treatment | Equipment |  | Saw-horizontal band | 1987-12-31 | 2083 | 2083 | 0 | 2.4689 | 5142.736 | 100% | 0% | 0 | 0
820 | Treatment | Equipment |  | Pump-Turbine 3 | 1987-12-31 | 5900 | 5900 | 0 | 2.4689 | 14566.559 | 100% | 0% | 0 | 0
825 | Treatment | Equipment |  | Clarifier 1 | 1986-12-31 | 55333 | 55333 | 0 | 2.5327 | 140142.7072 | 100% | 3% | 1659.99 | 4204.2812
829 | Treatment | Equipment |  | Floor jack-Maintenance | 1987-12-31 | 333.55 | 333.55 | 0 | 2.4689 | 823.5044 | 100% | 0% | 0 | 0
831 | Treatment | Equipment |  | Tool chest 2 | 1987-12-31 | 1715.4 | 1715.4 | 0 | 2.4689 | 4235.1653 | 100% | 0% | 0 | 0
834 | Treatment | Equipment |  | Pump 15 | 1987-12-31 | 1075 | 1075 | 0 | 2.4689 | 2654.0764 | 100% | 0% | 0 | 0
836 | Lift Station | Equipment |  | Lift Charles St | 1978-12-31 | 34692 | 34692 | 0 | 3.9186 | 135943.7763 | 100% | 14% | 4856.88 | 19032.1287
840 | Treatment | Equipment |  | Meter tank | 1990-12-31 | 663 | 663 | 0 | 2.2988 | 1524.1168 | 100% | 0% | 0 | 0
842 | Treatment | Equipment |  | Hoist 3 | 1987-12-31 | 1095 | 1095 | 0 | 2.4689 | 2703.4546 | 100% | 0% | 0 | 0
843 | Treatment | Equipment |  | Sander belt/disc | 1987-12-31 | 585 | 585 | 0 | 2.4689 | 1444.3114 | 100% | 0% | 0 | 0
848 | Treatment | Equipment |  | Pump 16 | 1987-12-31 | 1075 | 1075 | 0 | 2.4689 | 2654.0764 | 100% | 0% | 0 | 0
850 | Treatment | Equipment |  | Hoist 4 | 1987-12-31 | 1095 | 1095 | 0 | 2.4689 | 2703.4546 | 100% | 0% | 0 | 0
871 | Treatment | Equipment |  | Pump-Turbine 4 | 1987-12-31 | 5900 | 5900 | 0 | 2.4689 | 14566.559 | 100% | 0% | 0 | 0
885 | Treatment | Equipment |  | Hoist 5 | 1987-12-31 | 986 | 986 | 0 | 2.4689 | 2434.3436 | 100% | 0% | 0 | 0
894 | Treatment | Buildings & Improvements |  | WWTP Floor | 1991-12-31 | 2625 | 2625 | 0 | 2.2498 | 5905.8482 | 100% | 0% | 0 | 0
899 | Treatment | Equipment |  | Tank Fuel 1 | 1987-12-31 | 450 | 450 | 0 | 2.4689 | 1111.0087 | 100% | 0% | 0 | 0
907 | Treatment | Equipment |  | Tank Fuel 2 | 1987-12-31 | 2000 | 2000 | 0 | 2.4689 | 4937.8166 | 100% | 0% | 0 | 0
910 | Treatment | Equipment |  | Belt Conveyor 2 | 1987-12-31 | 8712 | 8712 | 0 | 2.4689 | 21509.1292 | 100% | 0% | 0 | 0
911 | Treatment | Equipment |  | Tank-air | 1987-12-31 | 1906 | 1906 | 0 | 2.4689 | 4705.7392 | 100% | 0% | 0 | 0
913 | Treatment | Equipment |  | Hoist-Crane-Dayton Ave PS | 1987-12-31 | 1048.3 | 1048.3 | 0 | 2.4689 | 2588.1566 | 100% | 0% | 0 | 0
919 | Treatment | Buildings & Improvements |  | Old WWTP Piping | 1950-12-31 | 72500 | 72500 | 0 | 21.3294 | 1546383.7745 | 100% | 0% | 0 | 0
923 | Treatment | Buildings & Improvements |  | WWTP Plant Piping 1 | 1987-12-31 | 15488 | 15229.91 | 258.09 | 2.4689 | 38238.4519 | 98.33% | 0% | 0 | 0
924 | Treatment | Buildings & Improvements |  | WWTP Plant Piping 2 | 1987-12-31 | 71632 | 70438.18 | 1193.82 | 2.4689 | 176852.8398 | 98.33% | 0% | 0 | 0
925 | Treatment | Buildings & Improvements |  | WWTP Plant Piping 3 | 1987-12-31 | 3388 | 3331.58 | 56.42 | 2.4689 | 8364.6613 | 98.33% | 0% | 0 | 0
926 | Treatment | Equipment |  | Platform-steel | 1987-12-31 | 4356 | 4283.4 | 72.6 | 2.4689 | 10754.5646 | 98.33% | 0% | 0 | 0
930 | Treatment | Buildings & Improvements |  | WWTP Plant Piping 4 | 1987-12-31 | 145200 | 142780 | 2420 | 2.4689 | 358485.4862 | 98.33% | 0% | 0 | 0
931 | Treatment | Buildings & Improvements |  | WWTP Plant Piping 5 | 1987-12-31 | 3872 | 3807.51 | 64.49 | 2.4689 | 9559.613 | 98.33% | 0% | 0 | 0
933 | Treatment | Buildings & Improvements |  | WWTP Plant Piping 6 | 1987-12-31 | 6776 | 6663.11 | 112.89 | 2.4689 | 16729.3227 | 98.33% | 0% | 0 | 0
936 | Treatment | Buildings & Improvements |  | WWTP Plant Piping 7 | 1987-12-31 | 11616 | 11422.4 | 193.6 | 2.4689 | 28678.8389 | 98.33% | 0% | 0 | 0
941 | Treatment | Equipment |  | Workbench 1 | 1987-12-31 | 335.88 | 330.32 | 5.56 | 2.4689 | 829.2569 | 98.34% | 0% | 0 | 0
942 | Treatment | Equipment |  | Workbench 2 | 1987-12-31 | 335.88 | 330.32 | 5.56 | 2.4689 | 829.2569 | 98.34% | 0% | 0 | 0
944 | Treatment | Equipment |  | Workbench 3 | 1987-12-31 | 1091 | 1072.85 | 18.15 | 2.4689 | 2693.579 | 98.34% | 0% | 0 | 0
946 | Treatment | Equipment |  | Platform 2 | 1987-12-31 | 653.1 | 642.32 | 10.78 | 2.4689 | 1612.444 | 98.35% | 0% | 0 | 0
948 | Treatment | Equipment |  | Hopper Feeder | 1987-12-31 | 6500 | 6391.7 | 108.3 | 2.4689 | 16047.904 | 98.33% | 0% | 0 | 0
949 | Treatment | Buildings & Improvements |  | WWTP Plant Piping 8 | 1987-12-31 | 9680 | 9518.71 | 161.29 | 2.4689 | 23899.0324 | 98.33% | 0% | 0 | 0
952 | Treatment | Equipment |  | Bay Workbench | 1987-12-31 | 629.78 | 619.31 | 10.47 | 2.4689 | 1554.8691 | 98.34% | 0% | 0 | 0
953 | Treatment | Buildings & Improvements |  | WWTP Plant Piping 9 | 1987-12-31 | 23232 | 22844.8 | 387.2 | 2.4689 | 57357.6778 | 98.33% | 0% | 0 | 0
954 | Treatment | Equipment |  | Dft 1 Workbench | 1987-12-31 | 1091 | 1072.85 | 18.15 | 2.4689 | 2693.579 | 98.34% | 0% | 0 | 0
956 | Treatment | Buildings & Improvements |  | WWTP Plant Piping 10 | 1987-12-31 | 40656 | 39978.4 | 677.6 | 2.4689 | 100375.9361 | 98.33% | 0% | 0 | 0
957 | Treatment | Equipment |  | Press-hydraulic | 1987-12-31 | 2615 | 2571.45 | 43.55 | 2.4689 | 6456.1952 | 98.33% | 0% | 0 | 0
959 | Treatment | Equipment |  | Arm loading sludge | 1987-12-31 | 3800 | 3736.7 | 63.3 | 2.4689 | 9381.8516 | 98.33% | 0% | 0 | 0
961 | Treatment | Buildings & Improvements |  | Sludge Pump Stat. | 1987-12-31 | 213750 | 140125 | 73625 | 2.4689 | 527729.1506 | 65.56% | 0% | 0 | 0
963 | Treatment | Buildings & Improvements |  | Clarifier 1 | 1987-12-31 | 157000 | 102922.29 | 54077.71 | 2.4689 | 387618.6042 | 65.56% | 3% | 4710 | 11628.5581
965 | Treatment | Buildings & Improvements |  | Solid Handling | 1987-12-31 | 646000 | 423488.93 | 222511.07 | 2.4689 | 1594914.7662 | 65.56% | 0% | 0 | 0
967 | Treatment | Buildings & Improvements |  | KCM Phase III | 1986-12-31 | 490901 | 332721.8 | 158179.2 | 2.5327 | 1243312.2205 | 67.78% | 0% | 0 | 0
968 | Treatment | Buildings & Improvements |  | KCM Phase II | 1986-12-31 | 851611 | 577203.09 | 274407.91 | 2.5327 | 2156887.7705 | 67.78% | 0% | 0 | 0
969 | Treatment | Buildings & Improvements |  | Capitalized Interest | 1986-12-31 | 461056 | 312493.59 | 148562.41 | 2.5327 | 1167723.3477 | 67.78% | 0% | 0 | 0
970 | Treatment | Buildings & Improvements |  | Outfall | 1986-12-31 | 343674 | 232934.6 | 110739.4 | 2.5327 | 870428.2209 | 67.78% | 0% | 0 | 0
974 | Treatment | Buildings & Improvements |  | RDS Distrib | 1987-12-31 | 24250.5 | 15897.55 | 8352.95 | 2.4689 | 59872.2609 | 65.56% | 0% | 0 | 0
975 | Treatment | Buildings & Improvements |  | Chlorine Bldg | 1987-12-31 | 118750 | 77847.29 | 40902.71 | 2.4689 | 293182.8614 | 65.56% | 0% | 0 | 0
978 | Treatment | Buildings & Improvements |  | Chlorine Contact Tk | 1987-12-31 | 169000 | 110788.93 | 58211.07 | 2.4689 | 417245.5039 | 65.56% | 0% | 0 | 0
979 | Treatment | Buildings & Improvements |  | Equalization Basin | 1987-12-31 | 454000 | 297622.29 | 156377.71 | 2.4689 | 1120884.3713 | 65.56% | 0% | 0 | 0
980 | Treatment | Buildings & Improvements |  | RAS Distr Box | 1987-12-31 | 16167 | 10598.41 | 5568.59 | 2.4689 | 39914.8406 | 65.56% | 0% | 0 | 0
981 | Treatment | Buildings & Improvements |  | Sludge Tank | 1987-12-31 | 174000 | 114066.7 | 59933.3 | 2.4689 | 429590.0454 | 65.56% | 0% | 0 | 0
982 | Treatment | Buildings & Improvements |  | Clarifier Distr Box | 1987-12-31 | 41939.1 | 27493.41 | 14445.69 | 2.4689 | 103543.7924 | 65.56% | 3% | 1258.173 | 3106.3138
983 | Treatment | Buildings & Improvements |  | Operation Bldg | 1987-12-31 | 881672.1 | 577985.09 | 303687.01 | 2.4689 | 2176767.5716 | 65.56% | 0% | 0 | 0
985 | Treatment | Buildings & Improvements |  | Oxidation Ditch 2 | 1987-12-31 | 638000 | 418244.48 | 219755.52 | 2.4689 | 1575163.4998 | 65.56% | 0% | 0 | 0
986 | Treatment | Buildings & Improvements |  | Oxidation Ditch 1 | 1987-12-31 | 638000 | 418244.48 | 219755.52 | 2.4689 | 1575163.4998 | 65.56% | 0% | 0 | 0
990 | Treatment | Buildings & Improvements |  | Clarifier 3 | 1987-12-31 | 157000 | 102922.29 | 54077.71 | 2.4689 | 387618.6042 | 65.56% | 0% | 0 | 0
991 | Treatment | Buildings & Improvements |  | Clarifier 2 | 1987-12-31 | 157000 | 102922.29 | 54077.71 | 2.4689 | 387618.6042 | 65.56% | 0% | 0 | 0
994 | Treatment | Buildings & Improvements |  | KCM Phase I | 1986-12-31 | 455421 | 308674.27 | 146746.73 | 2.5327 | 1153451.4999 | 67.78% | 0% | 0 | 0
997 | Treatment | Buildings & Improvements |  | KCM-Design | 1986-12-31 | 1133125 | 768006.99 | 365118.01 | 2.5327 | 2869882.4403 | 67.78% | 0% | 0 | 0
1005 | Treatment | Buildings & Improvements |  | Site Work 1 | 1986-12-31 | 19788 | 13411.87 | 6376.13 | 2.5327 | 50117.3602 | 67.78% | 0% | 0 | 0
1006 | Treatment | Buildings & Improvements |  | Site Work 2 | 1986-12-31 | 273617 | 185451.55 | 88165.45 | 2.5327 | 692993.8212 | 67.78% | 0% | 0 | 0
1008 | Treatment | Buildings & Improvements |  | Influent Pump | 1986-12-31 | 546970 | 370724.19 | 176245.81 | 2.5327 | 1385319.0058 | 67.78% | 0% | 0 | 0
1011 | Collection | Infrastructure |  | FY 72-73 Sewer Lines | 1973-12-31 | 2619 | 2278.53 | 340.47 | 5.7404 | 15034.0413 | 87% | 20% | 523.8 | 3006.8083
1012 | Collection | Infrastructure |  | FY 89-90 Sewer Lines | 1990-12-31 | 3466 | 1836.98 | 1629.02 | 2.2988 | 7967.7055 | 53% | 20% | 693.2 | 1593.5411
1014 | Collection | Infrastructure |  | FY 70-71 Sewer Lines | 1971-12-31 | 57325 | 52165.75 | 5159.25 | 6.8805 | 394422.4688 | 91% | 20% | 11465 | 78884.4938
1016 | Collection | Infrastructure |  | FY 71-72 Sewer Lines | 1972-12-31 | 21553 | 19182.17 | 2370.83 | 6.2054 | 133744.2952 | 89% | 20% | 4310.6 | 26748.859
1024 | Collection | Infrastructure |  | FY 73-74 Sewer Lines | 1974-12-31 | 30982 | 26334.7 | 4647.3 | 5.3852 | 166842.8247 | 85% | 20% | 6196.4 | 33368.5649
1025 | Collection | Infrastructure |  | FY 69-70 Sewer Lines | 1970-12-31 | 269447 | 250585.71 | 18861.29 | 7.8769 | 2122409.24 | 93% | 20% | 53889.4 | 424481.848
1027 | Collection | Infrastructure |  | FY 75-76 Sewer Lines | 1976-12-31 | 56899 | 46088.19 | 10810.81 | 4.5306 | 257787.5431 | 81% | 20% | 11379.8 | 51557.5086
1029 | Collection | Infrastructure |  | FY 79-80 Sewer Lines | 1980-12-31 | 145527 | 106234.71 | 39292.29 | 3.3605 | 489046.698 | 73% | 20% | 29105.4 | 97809.3396
1030 | Collection | Infrastructure |  | FY 80-81 Sewer Lines | 1981-12-31 | 463143 | 328831.53 | 134311.47 | 3.0772 | 1425197.7894 | 71% | 20% | 92628.6 | 285039.5579
1032 | Collection | Infrastructure |  | FY 59-60 Sewer Lines | 1960-12-31 | 46740 | 46740 | 0 | 13.2015 | 617036.6352 | 100% | 20% | 9348 | 123407.327
1034 | Collection | Infrastructure |  | FY 87-88 Sewer Lines | 1988-12-31 | 248007 | 141363.99 | 106643.01 | 2.4072 | 596995.4915 | 57% | 20% | 49601.4 | 119399.0983
1035 | Collection | Infrastructure |  | FY 82-83 Sewer Lines | 1983-12-31 | 3900 | 2613 | 1287 | 2.6754 | 10433.9004 | 67% | 20% | 780 | 2086.7801
1036 | Collection | Infrastructure |  | FY 64-65 Sewer Lines | 1965-12-31 | 18523 | 18523 | 0 | 11.2029 | 207511.2042 | 100% | 20% | 3704.6 | 41502.2408
1037 | Collection | Infrastructure |  | FY 65-66 Sewer Lines | 1966-12-31 | 78742 | 78742 | 0 | 10.6752 | 840585.1457 | 100% | 20% | 15748.4 | 168117.0291
1039 | Collection | Infrastructure |  | FY 62-63 Sewer Lines | 1963-12-31 | 35812 | 35812 | 0 | 12.0733 | 432367.696 | 100% | 20% | 7162.4 | 86473.5392
1041 | Collection | Infrastructure |  | FY 78-79 Sewer Lines | 1979-12-31 | 53863 | 40397.25 | 13465.75 | 3.6224 | 195112.3052 | 75% | 20% | 10772.6 | 39022.461
1043 | Collection | Infrastructure |  | FY 47-48 Sewer Lines | 1948-12-31 | 20466 | 20466 | 0 | 23.5966 | 482927.0123 | 100% | 20% | 4093.2 | 96585.4025
1044 | Collection | Infrastructure |  | FY 77-78 Sewer Lines | 1978-12-31 | 59148 | 45543.96 | 13604.04 | 3.9186 | 231776.85 | 77% | 20% | 11829.6 | 46355.37
1045 | Collection | Infrastructure |  | FY 88-89 Sewer Lines | 1989-12-31 | 113787 | 62582.85 | 51204.15 | 2.3571 | 268207.1774 | 55% | 20% | 22757.4 | 53641.4355
1046 | Collection | Infrastructure |  | FY 88-89 Sewer Lines | 1989-12-31 | 32877 | 18082.35 | 14794.65 | 2.3571 | 77494.3304 | 55% | 20% | 6575.4 | 15498.8661
1047 | Collection | Infrastructure |  | FY 58-59 Sewer Lines | 1959-12-31 | 7110 | 7110 | 0 | 13.6487 | 97042.2222 | 100% | 20% | 1422 | 19408.4444
1069 | Treatment | Equipment |  | Hoist 6 | 1992-08-14 | 375 | 375 | 0 | 2.1821 | 818.3057 | 100% | 0% | 0 | 0
1107 | Treatment | Equipment |  | Megohmeter | 1993-04-09 | 681.61 | 681.61 | 0 | 2.0879 | 1423.1402 | 100% | 0% | 0 | 0
1113 | Treatment | Equipment |  | Locker | 1993-04-09 | 309.5 | 309.5 | 0 | 2.0879 | 646.2081 | 100% | 0% | 0 | 0
1118 | Treatment | Equipment |  | Sampler | 1993-01-12 | 5140 | 5140 | 0 | 2.0879 | 10731.8563 | 100% | 0% | 0 | 0
1119 | Treatment | Equipment |  | Clarifier 1 | 1992-08-14 | 18233.37 | 18233.37 | 0 | 2.1821 | 39787.92 | 100% | 3% | 547.0011 | 1193.6376
1154 | Treatment | Equipment |  | Safety Block 1 | 1992-09-11 | 769.65 | 769.65 | 0 | 2.1821 | 1679.4906 | 100% | 0% | 0 | 0
1156 | Treatment | Equipment |  | Processor Board-Cntr | 1993-04-09 | 894.25 | 894.25 | 0 | 2.0879 | 1867.1133 | 100% | 0% | 0 | 0
1158 | Treatment | Equipment |  | Calibrator-Cntr | 1993-03-10 | 1156 | 1156 | 0 | 2.0879 | 2413.6237 | 100% | 0% | 0 | 0
1160 | Treatment | Equipment |  | Compressor 2 | 1992-09-10 | 646.5 | 646.5 | 0 | 2.1821 | 1410.759 | 100% | 0% | 0 | 0
1161 | Treatment | Equipment |  | Serial Interface-Cntr | 1992-10-29 | 2270 | 2270 | 0 | 2.1821 | 4953.477 | 100% | 0% | 0 | 0
1177 | Collection | Infrastructure |  | FY 92-93 Sewer Lines | 1993-06-30 | 209960 | 102880.4 | 107079.6 | 2.0879 | 438377.5393 | 49% | 20% | 41992 | 87675.5079
1183 | Treatment | Equipment |  | DC output card-Cntr | 1993-07-31 | 489.25 | 489.25 | 0 | 2.0879 | 1021.5099 | 100% | 0% | 0 | 0
1204 | Treatment | Equipment |  | Reducer-Clar | 1993-10-31 | 621.58 | 621.58 | 0 | 2.0879 | 1297.803 | 100% | 0% | 0 | 0
1234 | Treatment | Equipment |  | Clarifier 2 | 1993-10-31 | 17995 | 17995 | 0 | 2.0879 | 37571.9367 | 100% | 3% | 539.85 | 1127.1581
1248 | General Equipment | Equipment |  | Pickup 94-508 | 1994-01-31 | 13312 | 13312 | 0 | 2.0115 | 26776.64 | 100% | 0% | 0 | 0
1265 | Collection | Infrastructure |  | Valeri Park Sub | 1994-01-31 | 1816.5 | 853.86 | 962.64 | 2.0115 | 3653.8286 | 47.01% | 0% | 0 | 0
1338 | Treatment | Equipment |  | I/O Board Assembl | 1994-06-01 | 695 | 695 | 0 | 2.0115 | 1397.9691 | 100% | 0% | 0 | 0
1379 | Treatment | Equipment |  | DC Output Card | 1994-06-30 | 653 | 653 | 0 | 2.0115 | 1313.4875 | 100% | 0% | 0 | 0
1382 | Treatment | Equipment |  | Pump 18 | 1991-09-11 | 389.9 | 389.9 | 0 | 2.2498 | 877.2153 | 100% | 0% | 0 | 0
1401 | Pump Stations | Land |  | Dayton Avenue Pump Station | 1994-06-30 | 28065.55 | 0 | 28065.55 | 2.0115 | 56452.9093 | 0% | 0% | 0 | 0
1402 | Pump Stations | Buildings & Improvements |  | Dayton Ave Pump Station WW | 1994-06-30 | 56761 | 29641.9 | 27119.1 | 2.0115 | 114172.8413 | 52.22% | 0% | 0 | 0
1403 | Pump Stations | Buildings & Improvements |  | Dayton Ave PS Piping | 1994-06-30 | 183868.86 | 96020.46 | 87848.4 | 2.0115 | 369846.024 | 52.22% | 0% | 0 | 0
1405 | Pump Stations | Equipment |  | Pumps Dayton Ave PS | 1994-06-30 | 67972.52 | 67972.52 | 0 | 2.0115 | 136724.4364 | 100% | 0% | 0 | 0
1406 | Pump Stations | Equipment |  | Compressor Dayton Ave PS | 1994-06-30 | 5147.42 | 5147.42 | 0 | 2.0115 | 10353.8621 | 100% | 0% | 0 | 0
1407 | Pump Stations | Equipment |  | Meter Flow Dayton Ave PS | 1994-06-30 | 3673.25 | 3673.25 | 0 | 2.0115 | 7388.6188 | 100% | 0% | 0 | 0
1408 | Pump Stations | Equipment |  | Telemetry Dayton Ave PS | 1994-06-30 | 588.45 | 588.45 | 0 | 2.0115 | 1183.6474 | 100% | 0% | 0 | 0
1409 | Treatment | Buildings & Improvements |  | Dayton Ave Wet Well | 1994-06-30 | 64609.79 | 33740.71 | 30869.08 | 2.0115 | 129960.4182 | 52.22% | 0% | 0 | 0
1410 | Collection | Infrastructure |  | FY 93-94 Sewer Lines | 1994-06-30 | 405405 | 190540.35 | 214864.65 | 2.0115 | 815458.5141 | 47% | 20% | 81081 | 163091.7028
1421 | Treatment | Equipment |  | Clarifier 3 | 1994-08-31 | 27855 | 27855 | 0 | 2.0115 | 56029.3951 | 100% | 3% | 835.65 | 1680.8819
1516 | Treatment | Equipment |  | Cleaner-SewerVactor | 1994-12-31 | 151950 | 151950 | 0 | 2.0115 | 305642.3113 | 100% | 0% | 0 | 0
1520 | Treatment | Equipment |  | Pump 19 | 1995-01-31 | 945 | 945 | 0 | 1.9883 | 1878.9471 | 100% | 0% | 0 | 0
1533 | General Equipment | Equipment |  | Generator-Portable | 1995-03-31 | 611 | 611 | 0 | 1.9883 | 1214.8536 | 100% | 0% | 0 | 0
1654 | Collection | Infrastructure |  | FY 94-95 Sewer Lines | 1995-06-30 | 457375.62 | 205819.1 | 251556.52 | 1.9883 | 909401.6758 | 45% | 20% | 91475.124 | 181880.3352
1719 | Treatment | Land |  | Old WWTP 2 | 1947-01-01 | 990 | 0 | 990 | 26.339 | 26075.6172 | 0% | 0% | 0 | 0
1720 | Treatment | Land |  | 11th St. | 1969-04-01 | 3185 | 0 | 3185 | 8.5721 | 27302.1764 | 0% | 0% | 0 | 0
1746 | Treatment | Land |  | WWTP Land 3 | 1984-11-07 | 68000 | 0 | 68000 | 2.6237 | 178414.0569 | 0% | 0% | 0 | 0
1748 | Treatment | Land |  | WWTP Land 4 | 1984-06-26 | 170000 | 0 | 170000 | 2.6237 | 446035.1423 | 0% | 0% | 0 | 0
1759 | Lift Station | Equipment |  | Lift Stat Rotat Pump College St | 1996-04-30 | 2445 | 2445 | 0 | 1.9356 | 4732.515 | 100% | 100% | 2445 | 4732.515
1761 | Lift Station | Equipment |  | Lift Stat Pkg Syst College St | 1977-12-31 | 35079 | 35079 | 0 | 4.2228 | 148132.6525 | 100% | 100% | 35079 | 148132.6525
1777 | Collection | Infrastructure |  | FY 95-96 Sewer Lines | 1996-06-30 | 1068310 | 459373.3 | 608936.7 | 1.9356 | 2067809.0504 | 43% | 20% | 213662 | 413561.8101
1850 | Collection | Infrastructure |  | FY 91-92 Sewer Lines | 1992-12-31 | 447506 | 438555.88 | 8950.12 | 2.1821 | 976524.5222 | 98% | 20% | 89501.2 | 195304.9044
1861 | General Equipment | Equipment |  | Radio-portable 8 | 1997-03-31 | 1420 | 1420 | 0 | 1.8671 | 2651.3516 | 100% | 0% | 0 | 0
1862 | General Equipment | Equipment |  | Radio-portable 9 | 1997-03-31 | 1420 | 1420 | 0 | 1.8671 | 2651.3516 | 100% | 0% | 0 | 0
1864 | General Equipment | Equipment |  | Radio-portable 10 | 1997-03-31 | 1420 | 1420 | 0 | 1.8671 | 2651.3516 | 100% | 0% | 0 | 0
1865 | General Equipment | Equipment |  | Radio-portable 11 | 1997-03-31 | 1420 | 1420 | 0 | 1.8671 | 2651.3516 | 100% | 0% | 0 | 0
1866 | General Equipment | Equipment |  | Radio-portable 12 | 1997-03-31 | 1420 | 1420 | 0 | 1.8671 | 2651.3516 | 100% | 0% | 0 | 0
1867 | General Equipment | Equipment |  | Radio-portable 13 | 1997-03-31 | 1420 | 1420 | 0 | 1.8671 | 2651.3516 | 100% | 0% | 0 | 0
1870 | General Equipment | Equipment |  | Radio-portable 14 | 1997-03-31 | 1420 | 1420 | 0 | 1.8671 | 2651.3516 | 100% | 0% | 0 | 0
1872 | General Equipment | Equipment |  | Radio-portable 15 | 1997-03-31 | 1420 | 1420 | 0 | 1.8671 | 2651.3516 | 100% | 0% | 0 | 0
1876 | General Equipment | Equipment |  | Stat Radio-Control | 1997-03-31 | 2999.6 | 2999.6 | 0 | 1.8671 | 5600.7001 | 100% | 0% | 0 | 0
1879 | General Equipment | Equipment |  | Charger | 1997-03-31 | 573.75 | 573.75 | 0 | 1.8671 | 1071.2767 | 100% | 0% | 0 | 0
1899 | General Equipment | Equipment |  | I & C Modifica | 1997-06-30 | 384647 | 384647 | 0 | 1.8671 | 718193.2565 | 100% | 0% | 0 | 0
1920 | General Equipment | Equipment |  | Sewage Sampler | 1997-08-14 | 3795 | 3795 | 0 | 1.8671 | 7085.8304 | 100% | 0% | 0 | 0
1925 | General Equipment | Equipment |  | Scope Meter | 1997-09-05 | 1887.85 | 1887.85 | 0 | 1.8671 | 3524.8972 | 100% | 0% | 0 | 0
1926 | General Equipment | Equipment |  | Vacuum-Wet/Dry | 1997-08-22 | 2093.55 | 2093.55 | 0 | 1.8671 | 3908.9698 | 100% | 0% | 0 | 0
1927 | General Equipment | Equipment |  | Hydraulic Puller Set | 1997-09-03 | 2306.9 | 2306.9 | 0 | 1.8671 | 4307.326 | 100% | 0% | 0 | 0
1934 | Collection | Equipment |  | Telemetry Upgrade | 1997-09-01 | 13599.7 | 13599.7 | 0 | 1.8671 | 25392.6661 | 100% | 0% | 0 | 0
1970 | General Equipment | Equipment |  | Truck 507-98 | 1998-07-10 | 38272.68 | 38272.68 | 0 | 1.8375 | 70326.1141 | 100% | 0% | 0 | 0
1988 | Collection | Infrastructure |  | Sewer Tap | 1998-04-30 | 2035 | 793.65 | 1241.35 | 1.8375 | 3739.3159 | 39% | 0% | 0 | 0
1989 | Treatment | Equipment |  | Pressure Transducer 1 | 1998-05-27 | 827.56 | 827.56 | 0 | 1.8375 | 1520.6429 | 100% | 0% | 0 | 0
1990 | Treatment | Equipment |  | Pressure Transducer 2 | 1998-05-27 | 827.56 | 827.56 | 0 | 1.8375 | 1520.6429 | 100% | 0% | 0 | 0
1997 | Treatment | Equipment |  | Tapping Machi ne | 1998-06-16 | 3132 | 3132 | 0 | 1.8375 | 5755.0553 | 100% | 0% | 0 | 0
2037 | Treatment | Equipment |  | Composter | 1998-06-30 | 4000000 | 3900000 | 100000 | 1.8375 | 7350006.7568 | 97.5% | 0% | 0 | 0
2040 | Treatment | Equipment |  | WTP Elect Upgrade | 1998-06-30 | 91265.8 | 91265.8 | 0 | 1.8375 | 167701.0617 | 100% | 0% | 0 | 0
2044 | Collection | Infrastructure |  | FY 97-98 Sewer Lines | 1998-06-30 | 26746.51 | 10431.24 | 16315.27 | 1.8375 | 49146.7573 | 39% | 20% | 5349.302 | 9829.3515
2047 | General Equipment | Equipment |  | Portable Radio 3 | 1998-07-24 | 1629 | 1629 | 0 | 1.8375 | 2993.2903 | 100% | 0% | 0 | 0
2050 | General Equipment | Equipment |  | Portable Radio 4 | 1998-08-07 | 1629 | 1629 | 0 | 1.8375 | 2993.2903 | 100% | 0% | 0 | 0
2057 | General Equipment | Equipment |  | Eyewash Upgrade | 1998-08-31 | 4283.14 | 4283.14 | 0 | 1.8375 | 7870.277 | 100% | 0% | 0 | 0
2072 | General Equipment | Equipment |  | Portable Radio 5 | 1998-11-25 | 1329.72 | 1329.72 | 0 | 1.8375 | 2443.3627 | 100% | 0% | 0 | 0
2073 | General Equipment | Equipment |  | Portable Radio 6 | 1998-11-25 | 1329.72 | 1329.72 | 0 | 1.8375 | 2443.3627 | 100% | 0% | 0 | 0
2074 | General Equipment | Equipment |  | Portable Radio 7 | 1998-11-25 | 1329.72 | 1329.72 | 0 | 1.8375 | 2443.3627 | 100% | 0% | 0 | 0
2080 | General Equipment | Equipment |  | Pickup 7 | 1999-01-27 | 16535 | 16535 | 0 | 1.7953 | 29686.0695 | 100% | 0% | 0 | 0
2113 | General Equipment | Equipment |  | Variable Spd Dr | 1999-03-31 | 19500 | 19500 | 0 | 1.7953 | 35009.2746 | 100% | 0% | 0 | 0
2115 | Treatment | Buildings & Improvements |  | Vacuum Blower | 1999-04-30 | 3500 | 3500 | 0 | 1.7953 | 6283.716 | 100% | 0% | 0 | 0
2120 | Treatment | Equipment |  | Valves/Actuator 1 | 1999-04-26 | 4363 | 4363 | 0 | 1.7953 | 7833.1008 | 100% | 0% | 0 | 0
2121 | Treatment | Equipment |  | Valves/Actuator 2 | 1999-04-26 | 4363 | 4363 | 0 | 1.7953 | 7833.1008 | 100% | 0% | 0 | 0
2142 | Treatment | Buildings & Improvements |  | Conveyor Rebuild | 1999-04-23 | 20850 | 20850 | 0 | 1.7953 | 37432.9936 | 100% | 0% | 0 | 0
2143 | Treatment | Equipment |  | Variable Freq Drive 2 | 1999-02-11 | 2287.5 | 2287.5 | 0 | 1.7953 | 4106.8572 | 100% | 0% | 0 | 0
2143.1 | Treatment | Equipment |  | Install VFD 1 | 1999-04-27 | 4183.75 | 4183.75 | 0 | 1.7953 | 7511.2848 | 100% | 0% | 0 | 0
2144 | Treatment | Equipment |  | Variable Freq Drive 3 | 1999-02-11 | 2287.5 | 2287.5 | 0 | 1.7953 | 4106.8572 | 100% | 0% | 0 | 0
2144.1 | Treatment | Equipment |  | Install VFD 2 | 1999-04-27 | 4183.75 | 4183.75 | 0 | 1.7953 | 7511.2848 | 100% | 0% | 0 | 0
2145 | Treatment | Equipment |  | Sawdust Bin Cover | 1998-11-06 | 2223 | 2223 | 0 | 1.8375 | 4084.7663 | 100% | 0% | 0 | 0
2159 | Treatment | Buildings & Improvements |  | Handrails | 1999-06-14 | 2669 | 2669 | 0 | 1.7953 | 4791.7823 | 100% | 0% | 0 | 0
2160 | Collection | Infrastructure |  | 1998-99 Lines | 1999-06-30 | 11970.86 | 4429.26 | 7541.6 | 1.7953 | 21491.8526 | 37% | 20% | 2394.172 | 4298.3705
2162 | Pump Stations | Buildings & Improvements |  | Eighth St. Pump Station | 1999-06-30 | 19442.3 | 8992.11 | 10450.19 | 1.7953 | 34905.6831 | 46.25% | 40% | 7776.92 | 13962.2732
2163 | Collection | Infrastructure |  | MiddleBrook Relocate | 1999-06-30 | 46886.62 | 17348.12 | 29538.5 | 1.7953 | 84177.7721 | 37% | 0% | 0 | 0
2189 | General Equipment | Equipment |  | Saw-Band | 1999-08-19 | 3882 | 3882 | 0 | 1.7953 | 6969.5387 | 100% | 0% | 0 | 0
2191 | Treatment | Equipment |  | Fan 1 Jaybird Misting System | 1999-09-16 | 1787 | 1787 | 0 | 1.7953 | 3208.2858 | 100% | 0% | 0 | 0
2192 | Treatment | Equipment |  | Fan 2 Jaybird Misting System | 1999-09-16 | 1787 | 1787 | 0 | 1.7953 | 3208.2858 | 100% | 0% | 0 | 0
2197 | Treatment | Equipment |  | Actuator/Controller | 1999-12-02 | 2573.5 | 2573.5 | 0 | 1.7953 | 4620.3266 | 100% | 0% | 0 | 0
2202 | Treatment | Equipment |  | Trash Pump | 2000-01-13 | 1150 | 1150 | 0 | 1.7486 | 2010.8843 | 100% | 0% | 0 | 0
2211 | Treatment | Equipment |  | Valve Actuator 1 | 2000-02-02 | 4659 | 4659 | 0 | 1.7486 | 8146.7045 | 100% | 0% | 0 | 0
2212 | Treatment | Equipment |  | Valve Actuator 2 | 2000-02-02 | 4659 | 4659 | 0 | 1.7486 | 8146.7045 | 100% | 0% | 0 | 0
2221 | General Equipment | Equipment |  | Handheld Meter Reader | 2000-04-28 | 4450 | 4450 | 0 | 1.7486 | 7781.2481 | 100% | 0% | 0 | 0
2230 | Treatment | Equipment |  | Conveyor Rebuild | 2000-03-28 | 8310 | 8310 | 0 | 1.7486 | 14530.8251 | 100% | 0% | 0 | 0
2247 | Treatment | Equipment |  | Generator 2 | 2000-06-12 | 29500 | 29500 | 0 | 1.7486 | 51583.5549 | 100% | 0% | 0 | 0
2267 | Collection | Infrastructure |  | FY 99-00 City Sewer Lines | 2000-06-30 | 3995.46 | 1398.47 | 2596.99 | 1.7486 | 6986.4417 | 35% | 20% | 799.092 | 1397.2883
2282 | Treatment | Equipment |  | Screw Conveyor | 2000-07-17 | 18399.06 | 18399.06 | 0 | 1.7486 | 32172.5058 | 100% | 0% | 0 | 0
2314 | Treatment | Equipment |  | Robotic Total Station | 2001-03-23 | 14000 | 14000 | 0 | 1.7174 | 24043.5965 | 100% | 0% | 0 | 0
2318 | Treatment | Equipment |  | Circuit Breaker | 2001-05-22 | 6587 | 6587 | 0 | 1.7174 | 11312.5121 | 100% | 0% | 0 | 0
2320 | Collection | Infrastructure |  | FY 00-01 City Sewer Lines | 2001-06-30 | 47445.02 | 15656.9 | 31788.12 | 1.7174 | 81482.0654 | 33% | 20% | 9489.004 | 16296.4131
2322 | Collection | Buildings & Improvements |  | Manholes | 2001-06-30 | 20040 | 13226.4 | 6813.6 | 1.7174 | 34416.6909 | 66% | 0% | 0 | 0
2323 | Pump Stations | Buildings & Improvements |  | Sheridan St Pump | 2001-06-30 | 240150.88 | 88055.37 | 152095.51 | 1.7174 | 412435.0606 | 36.67% | 40% | 96060.352 | 164974.0243
2324 | Pump Stations | Buildings & Improvements |  | Charles St Main | 2001-06-30 | 40984.83 | 13525.04 | 27459.79 | 1.7174 | 70387.3367 | 33% | 14% | 5737.8762 | 9854.2271
2325 | Pump Stations | Buildings & Improvements |  | Charles St Pump | 2001-06-30 | 120592.32 | 44217.27 | 76375.05 | 1.7174 | 207105.2199 | 36.67% | 14% | 16882.9248 | 28994.7308
2326 | Pump Stations | Buildings & Improvements |  | Andrews St Pump | 2001-06-30 | 118546.32 | 43467 | 75079.32 | 1.7174 | 203591.42 | 36.67% | 5% | 5927.316 | 10179.571
2327 | Treatment | Buildings & Improvements |  | Composter | 2001-06-30 | 140302.06 | 115749.26 | 24552.8 | 1.7174 | 240954.7224 | 82.5% | 0% | 0 | 0
2329 | Treatment | Buildings & Improvements |  | WWTP Door Hardware | 2001-06-30 | 19434.39 | 19434.39 | 0 | 1.7174 | 33376.6165 | 100% | 0% | 0 | 0
2341 | General Equipment | Equipment |  | Pickup 534-01 | 2001-10-30 | 18359.19 | 18359.19 | 0 | 1.7174 | 31530.0683 | 100% | 0% | 0 | 0
2346 | Treatment | Equipment |  | Flow Meter Monitoring Station | 2002-01-09 | 17620 | 17620 | 0 | 1.6638 | 29316.3867 | 100% | 0% | 0 | 0
2348 | Treatment | Equipment |  | Variable Freq Drive 4 | 2002-05-30 | 15710 | 15710 | 0 | 1.6638 | 26138.5037 | 100% | 0% | 0 | 0
2353 | Treatment | Equipment |  | Amp Breaker-100 | 2002-06-26 | 6462.44 | 6462.44 | 0 | 1.6638 | 10752.2923 | 100% | 0% | 0 | 0
2354 | Treatment | Equipment |  | Amp Breaker-400 | 2002-06-26 | 6929.44 | 6929.44 | 0 | 1.6638 | 11529.293 | 100% | 0% | 0 | 0
2364 | Treatment | Equipment |  | VFD Replacement | 2002-06-30 | 103620.84 | 103620.84 | 0 | 1.6638 | 172405.7103 | 100% | 0% | 0 | 0
2370 | Collection | Buildings & Improvements |  | 01-02 Manholes | 2002-06-30 | 28191.75 | 17478.99 | 10712.76 | 1.6638 | 46905.8028 | 62% | 0% | 0 | 0
2371 | Collection | Infrastructure |  | FY 01-02 City Sewer Lines | 2002-06-30 | 192110.79 | 59554.39 | 132556.4 | 1.6638 | 319636.4476 | 31% | 20% | 38422.158 | 63927.2895
2375 | Treatment | Equipment |  | Mailing Machine | 2002-09-19 | 6470 | 6470 | 0 | 1.6638 | 10764.8707 | 100% | 0% | 0 | 0
2377 | Treatment | Equipment |  | VFD Upgrade | 2002-09-30 | 5170 | 5170 | 0 | 1.6638 | 8601.9137 | 100% | 0% | 0 | 0
2381 | Treatment | Equipment |  | Diesel Fuel Tank | 2003-05-08 | 11239.8 | 10865.14 | 374.66 | 1.625 | 18265.1116 | 96.67% | 0% | 0 | 0
2387 | Treatment | Equipment |  | Pump Base | 2003-06-25 | 7054 | 7054 | 0 | 1.625 | 11463.024 | 100% | 0% | 0 | 0
2388 | Treatment | Equipment |  | Software Work Director/Waterview | 2003-06-25 | 7910 | 7910 | 0 | 1.625 | 12854.0572 | 100% | 0% | 0 | 0
2390 | Collection | Infrastructure |  | FY 02-03 City Sewer Lines | 2003-06-30 | 1216110 | 352671.9 | 863438.1 | 1.625 | 1976225.9846 | 29% | 20% | 243222 | 395245.1969
2402 | Collection | Infrastructure | Contributed | FY 98-99 Developer Sewer Lines | 1999-06-30 | 308700 | 114219 | 194481 | 1.7953 | 554223.7476 | 37% | 0% | 0 | 0
2404 | Collection | Infrastructure | Contributed | FY 99-00 Developer Sewer Lines | 2000-06-30 | 117900 | 41265 | 76635 | 1.7486 | 206159.3601 | 35% | 0% | 0 | 0
2406 | Collection | Infrastructure | Contributed | FY 00-01 Developer Sewer Lines | 2001-06-30 | 454500 | 149985 | 304515 | 1.7174 | 780558.1852 | 33% | 0% | 0 | 0
2408 | Collection | Infrastructure | Contributed | FY 01-02 Developer Sewer Lines | 2002-06-30 | 127600 | 39556 | 88044 | 1.6638 | 212302.5506 | 31% | 0% | 0 | 0
2410 | Treatment | Equipment |  | Pickup 509-03 | 2003-08-14 | 15782.64 | 15782.64 | 0 | 1.625 | 25647.403 | 100% | 0% | 0 | 0
2412 | Treatment | Equipment |  | Loader 514-04 | 2003-11-12 | 127822 | 115039.83 | 12782.17 | 1.625 | 207715.7147 | 90% | 0% | 0 | 0
2418 | Treatment | Equipment |  | Power Supply | 2004-01-29 | 18565 | 18565 | 0 | 1.5289 | 28383.7323 | 100% | 0% | 0 | 0
2424 | Treatment | Equipment |  | Screw Conveyor #2 | 2004-05-13 | 9416.5 | 9416.5 | 0 | 1.5289 | 14396.7366 | 100% | 0% | 0 | 0
2425 | Treatment | Equipment |  | Screw Conveyor #3 | 2004-05-13 | 9416.5 | 9416.5 | 0 | 1.5289 | 14396.7366 | 100% | 0% | 0 | 0
2427 | Treatment | Equipment |  | Pocket Align Laser Align System | 2004-06-30 | 5008.3 | 5008.3 | 0 | 1.5289 | 7657.11 | 100% | 0% | 0 | 0
2428 | Treatment | Equipment |  | 1997 Flatbet 940-97 | 2004-06-28 | 20561 | 20561 | 0 | 1.5289 | 31435.3849 | 100% | 0% | 0 | 0
2433 | Treatment | Buildings & Improvements |  | Fernwood Rd Pump Station | 2004-06-30 | 1053854.63 | 316156.4 | 737698.23 | 1.5289 | 1611221.5325 | 30% | 0% | 0 | 0
2434 | Collection | Infrastructure |  | FY 03-04 City Sewer Lines | 2004-06-30 | 232090 | 62664.3 | 169425.7 | 1.5289 | 354838.6987 | 27% | 20% | 46418 | 70967.7397
2435 | Collection | Infrastructure | Contributed | FY 03-04 Developer Sewer Lines | 2004-06-30 | 905500 | 244485 | 661015 | 1.5289 | 1384404.5053 | 27% | 0% | 0 | 0
2442 | General Equipment | Equipment |  | Trailer 903-04 | 2004-09-09 | 11938 | 11938 | 0 | 1.5289 | 18251.8178 | 100% | 0% | 0 | 0
2456 | Treatment | Equipment |  | Pressure Headworks Blower | 2005-01-06 | 6800 | 5666.67 | 1133.33 | 1.4609 | 9934.2857 | 83.33% | 0% | 0 | 0
2457 | Treatment | Equipment |  | Return Room Piping Replacement | 2004-11-18 | 5930 | 4941.67 | 988.33 | 1.5289 | 9066.2824 | 83.33% | 0% | 0 | 0
2458 | Treatment | Equipment |  | Reclaim Pump #1 | 2005-06-30 | 9005 | 7504.17 | 1500.83 | 1.4609 | 13155.624 | 83.33% | 0% | 0 | 0
2463 | Collection | Infrastructure | Contributed | FY 2004-05 City Sewer Lines LID | 2005-06-30 | 967696 | 241924 | 725772 | 1.4609 | 1413730.6707 | 25% | 0% | 0 | 0
2464 | Collection | Infrastructure | Contributed | FY 2004-05 Developer Sewer Lines | 2005-06-30 | 1111775 | 277943.75 | 833831.25 | 1.4609 | 1624219.1932 | 25% | 0% | 0 | 0
2465 | Treatment | Equipment |  | Headworks Improvements | 2005-06-30 | 420693 | 350577.5 | 70115.5 | 1.4609 | 614600.6567 | 83.33% | 0% | 0 | 0
2466 | Treatment | Equipment |  | Belt Screen & Compactor | 2005-06-30 | 415387 | 346155.87 | 69231.13 | 1.4609 | 606848.9919 | 83.33% | 0% | 0 | 0
2467 | Treatment | Equipment |  | Grit Cyclones & Classifier | 2005-06-30 | 74669 | 62224.17 | 12444.83 | 1.4609 | 109085.7619 | 83.33% | 0% | 0 | 0
2468 | Treatment | Buildings & Improvements |  | Cure & Blower Building | 2005-06-30 | 728496 | 455310 | 273186 | 1.4609 | 1064277.561 | 62.5% | 0% | 0 | 0
2469 | Treatment | Equipment |  | Scrubber & Biofilter System | 2005-06-30 | 301212 | 251010 | 50202 | 1.4609 | 440047.9518 | 83.33% | 0% | 0 | 0
2470 | Treatment | Equipment |  | Cure & Ventilation Blower | 2005-06-30 | 338641 | 282200.87 | 56440.13 | 1.4609 | 494728.8901 | 83.33% | 0% | 0 | 0
2471 | Treatment | Buildings & Improvements |  | Odorous Piping Network | 2005-06-30 | 467486 | 389571.67 | 77914.33 | 1.4609 | 682961.6908 | 83.33% | 0% | 0 | 0
2472 | Treatment | Buildings & Improvements |  | Reaktop Door | 2005-06-30 | 15158 | 15158 | 0 | 1.4609 | 22144.6916 | 100% | 0% | 0 | 0
2473 | Treatment | Equipment |  | Compost Bin Live Bottom | 2005-06-30 | 75546 | 62955 | 12591 | 1.4609 | 110366.9926 | 83.33% | 0% | 0 | 0
2478 | Treatment | Buildings & Improvements |  | Chehalem Sewer Pump Station & Lines | 2005-06-30 | 877259 | 243683.1 | 633575.9 | 1.4609 | 1281609.0533 | 27.78% | 23% | 201769.57 | 294770.0823
2479 | Treatment | Equipment |  | Creekside Pump Station Improvements | 2005-06-30 | 31033 | 25860.87 | 5172.13 | 1.4609 | 45336.866 | 83.33% | 40% | 12413.2 | 18134.7464
2491 | General Equipment | Equipment |  | 2005 Dodge Dakota 517-05 | 2005-09-29 | 22169 | 22169 | 0 | 1.4609 | 32387.2324 | 100% | 0% | 0 | 0
2496 | Treatment | Equipment |  | Composter Energy Improvements | 2006-02-02 | 455000 | 348833.38 | 106166.62 | 1.4034 | 638545.4492 | 76.67% | 0% | 0 | 0
2498 | General Equipment | Equipment |  | Tractor Loader & Mower | 2006-03-09 | 20150 | 20150 | 0 | 1.4034 | 28278.4413 | 100% | 0% | 0 | 0
2508 | Treatment | Equipment |  | WWTP Crane | 2006-06-30 | 8319 | 8319 | 0 | 1.4034 | 11674.8562 | 100% | 0% | 0 | 0
2516 | Pump Stations | Equipment |  | Generator-Backup Andrews Pump Station | 2006-06-30 | 21282 | 21282 | 0 | 1.4034 | 29867.0863 | 100% | 5% | 1064.1 | 1493.3543
2517 | Collection | Infrastructure |  | FY 2005-06 City Sewer Lines | 2006-06-30 | 141692 | 32589.16 | 109102.84 | 1.4034 | 198850.0699 | 23% | 20% | 28338.4 | 39770.014
2518 | Collection | Infrastructure | Contributed | FY 2005-06 Developer Sewer | 2006-06-30 | 376355 | 86561.65 | 289793.35 | 1.4034 | 528175.3242 | 23% | 0% | 0 | 0
2529 | General Equipment | Equipment |  | WWTP Truck 527-08 | 2007-06-30 | 40939 | 40939 | 0 | 1.3653 | 55895.6794 | 100% | 0% | 0 | 0
2547 | Collection | Infrastructure | Contributed | FY 2006-07 Developer Sewer Lines | 2007-06-30 | 538720 | 113131.2 | 425588.8 | 1.3653 | 735536.2951 | 21% | 0% | 0 | 0
2578 | Collection | Infrastructure |  | Wastewater Line N Arterial S-Curve | 2008-06-30 | 606926 | 115315.94 | 491610.06 | 1.3089 | 794375.3896 | 19% | 100% | 606926 | 794375.3896
2581 | Collection | Infrastructure | Contributed | 2007-08 Developer Contributed WW Lines | 2008-06-30 | 278110 | 52840.9 | 225269.1 | 1.3089 | 364004.4085 | 19% | 0% | 0 | 0
2609.2 | Collection | Infrastructure |  | Effluent Reuse Pipelines-WW | 2009-06-30 | 436690.14 | 74237.37 | 362452.77 | 1.2686 | 553983.3192 | 17% | 100% | 436690.14 | 553983.3192
2612 | Collection | Infrastructure | Contributed | 2008-09 Developer Contributed Wastewater Lines | 2009-06-30 | 60305 | 10251.85 | 50053.15 | 1.2686 | 76502.6755 | 17% | 0% | 0 | 0
2635 | Collection | Infrastructure |  | W Sheridan/N Harrison WW Improvements | 2010-06-30 | 307287 | 46093.05 | 261193.95 | 1.2358 | 379745.5608 | 15% | 100% | 307287 | 379745.5608
2716 | Collection | Infrastructure |  | Animal Shelter WW Lines | 2013-06-30 | 48550 | 4369.5 | 44180.5 | 1.1395 | 55320.9489 | 9% | 100% | 48550 | 55320.9489
2778 | Collection | Infrastructure |  | Wynooski-Riverfront Utilities - relocate trunk line | 2014-06-30 | 2188339.66 | 131300.3796 | 2057039.2804 | 1.1093 | 2427437.6612 | 6% | 100% | 2188339.66 | 2427437.6612
2781 | Collection | Infrastructure |  | Reuse Line Relocation (Bypass Ph 1) | 2014-05-31 | 28547 | 1712.82 | 26834.18 | 1.1093 | 31666.0453 | 6% | 100% | 28547 | 31666.0453
Sewer Lines | Collection | Infrastructure | Contributed | Highland at Hess Creek Phase 4 & 5 Developer Contributed | 2017-06-30 | 53737 | 671.7125 | 53065.2875 | 1.0817 | 58128.331 | 1.25% | 0% | 0 | 0
Sewer Lines | Collection | Infrastructure |  | South Springbrook (Bypass) (Wastewater Lines) | 2017-06-30 | 71531.26 | 715.3126 | 70815.9474 | 1.0817 | 77376.7191 | 1% | 100% | 71531.26 | 77376.7191
Sewer Lines | Collection | Infrastructure | Contributed | Shellie Park Developer Contributed | 2017-06-30 | 80551 | 1006.8875 | 79544.1125 | 1.0817 | 87133.5427 | 1.25% | 0% | 0 | 0
Sewer Lines | Collection | Infrastructure |  | Edwood 8" sewer 176 LF | 2014-06-30 | 19360 | 1355.2 | 18004.8 | 1.1093 | 21475.2737 | 7% | 100% | 19360 | 21475.2737
Sewer Lines | Collection | Infrastructure |  | 2nd Street Parking Lot Rehab (Wastewater Lines) | 2016-06-30 | 59084.63 | 1772.5389 | 57312.0911 | 1.0817 | 63912.9636 | 3% | 100% | 59084.63 | 63912.9636
Sewer Lines | Collection | Infrastructure |  | Heritage 8" sewer 286 LF | 2014-06-30 | 31468.8 | 2202.818 | 29265.982 | 1.1093 | 34907.0812 | 7% | 100% | 31468.8 | 34907.0812
Sewer Lines | Collection | Infrastructure |  | Inflow/Infiltration - Aquarius, Vittoria Way, Madrona, Coffey Ln | 2017-06-30 | 231448.22 | 2314.4822 | 229133.7378 | 1.0817 | 250361.9244 | 1% | 100% | 231448.22 | 250361.9244
Sewer Lines | Collection | Infrastructure |  | Aquarious Street Lateral Replacement (I&I) | 2016-06-30 | 134803.5 | 4044.105 | 130759.395 | 1.0817 | 145819.4998 | 3% | 100% | 134803.5 | 145819.4998
Sewer Lines | Collection | Infrastructure |  | Meridian St Sewer (I&I) | 2016-06-30 | 452414.32 | 13572.4296 | 438841.8904 | 1.0817 | 489385.141 | 3% | 100% | 452414.32 | 489385.141
2561 | General Equipment | Equipment |  | 2008 Chev 1/2 ton PU Vehicle No. 528-08. | 2008-06-30 | 19935 | 19935 | 0 | 1.3089 | 26091.9344 | 100% | 0% | 0 | 0
2567 | General Equipment | Equipment |  | Kubota Utility Cart | 2008-06-30 | 14752 | 14752 | 0 | 1.3089 | 19308.1624 | 100% | 0% | 0 | 0
2588 | General Equipment | Equipment |  | Jet Lathe GH1440W-3 | 2009-06-30 | 6098 | 6098 | 0 | 1.2686 | 7735.8978 | 100% | 0% | 0 | 0
2605 | General Equipment | Equipment |  | Stantrol 960 base unit and parts | 2009-06-30 | 18227 | 18227 | 0 | 1.2686 | 23122.6974 | 100% | 0% | 0 | 0
2673 | General Equipment | Equipment |  | 2012 Chev Silverado Pick Up | 2012-06-30 | 27067 | 27067 | 0 | 1.1687 | 31631.9815 | 100% | 0% | 0 | 0
2687 | General Equipment | Equipment |  | 2011 Lawn Mower | 2012-06-30 | 14700 | 11550 | 3150 | 1.1687 | 17179.2267 | 78.57% | 0% | 0 | 0
2713 | General Equipment | Equipment |  | Doosan Forklift #539-13 | 2013-06-30 | 32908 | 21155.13 | 11752.87 | 1.1395 | 37497.4621 | 64.29% | 0% | 0 | 0
2729 | General Equipment | Equipment |  | 2013 Ford TV Inspection Truck (#540-14) | 2014-06-30 | 169675 | 22623.32 | 147051.68 | 1.1093 | 188213.6913 | 13.33% | 0% | 0 | 0
2742 | General Equipment | Equipment |  | 2014 Freightliner Truck Veh# 542-14 | 2014-06-30 | 177526 | 23670.12 | 153855.88 | 1.1093 | 196922.4916 | 13.33% | 0% | 0 | 0
2744 | General Equipment | Equipment |  | Camera - Controller for Composter | 2014-06-30 | 7716.68 | 5401.676 | 2315.004 | 1.1093 | 8559.8045 | 70% | 0% | 0 | 0
2757 | General Equipment | Equipment |  | 2014 Caterpillar | 2014-12-18 | 121839 | 52216.7143 | 69622.2857 | 1.1093 | 135151.1297 | 42.86% | 0% | 0 | 0
2821 | General Equipment | Equipment |  | 2017 Chevrolet PU Veh# 546-17 | 2017-02-28 | 27902.25 | 1993.0179 | 25909.2321 | 1.0817 | 30182.3924 | 7.143% | 0% | 0 | 0
2822 | General Equipment | Equipment |  | 2017 Chevrolet SUV Veh# 547-17 | 2017-03-31 | 22316.2 | 1594.0143 | 20722.1857 | 1.0817 | 24139.8563 | 7.143% | 0% | 0 | 0
2823 | General Equipment | Equipment |  | Utility Golf Car | 2017-04-30 | 8206.6 | 586.1857 | 7620.4143 | 1.0817 | 8877.2347 | 7.143% | 0% | 0 | 0
2598 | Pump Stations | Land |  | HWY 240 WW Pump Station 305 W Illinois | 2009-06-30 | 77807.74 | 0 | 77807.74 | 1.2686 | 98706.5796 | 0% | 100% | 77807.74 | 98706.5796
2649 | Pump Stations | Equipment |  | Generator at Charles St Pump Station | 2011-06-30 | 20172 | 18731.18 | 1440.82 | 1.1988 | 24182.1912 | 92.86% | 14% | 2824.08 | 3385.5068
2650 | Pump Stations | Equipment |  | Generator for Dayton Ave-Pump Station | 2011-06-30 | 35900 | 33335.77 | 2564.23 | 1.1988 | 43036.9156 | 92.86% | 0% | 0 | 0
2668 | Pump Stations | Buildings & Improvements |  | HWY 240 Pump Station | 2011-06-30 | 1782391 | 257456.48 | 1524934.52 | 1.1988 | 2136730.1147 | 14.44% | 100% | 1782391 | 2136730.1147
CIP | Pump Stations | CIP |  | Dayton Pump Station Design | 2015-06-30 | 353502.62 |  | 353502.62 | 1.0817 | 382390.4812 | 0% | 0% | 0 | 0
2571 | Treatment | Equipment |  | Wireless bridge WWTP | 2008-06-30 | 8304 | 8304 | 0 | 1.3089 | 10868.6944 | 100% | 100% | 8304 | 10868.6944
2592 | Treatment | Equipment |  | Server for Public Works | 2009-06-30 | 8552.08 | 8552.08 | 0 | 1.2686 | 10849.1336 | 100% | 100% | 8552.08 | 10849.1336
2599.1 | Treatment | Equipment |  | City-Wide Wireless Network-Wastewater | 2009-06-30 | 28944 | 28944 | 0 | 1.2686 | 36718.2396 | 100% | 100% | 28944 | 36718.2396
2600 | Treatment | Equipment |  | Replacement pump-Inf Pump #3 | 2009-06-30 | 69615 | 69615 | 0 | 1.2686 | 88313.3033 | 100% | 100% | 69615 | 88313.3033
2601.1 | Treatment | Equipment |  | New key system for Operations Bldg/Stat | 2009-06-30 | 6328 | 6328 | 0 | 1.2686 | 8027.6748 | 100% | 100% | 6328 | 8027.6748
2608.2 | Treatment | Buildings & Improvements |  | Effluent Reuse Facility-WW | 2009-06-30 | 1931662 | 820956.35 | 1110705.65 | 1.2686 | 2450498.4847 | 42.5% | 100% | 1931662 | 2450498.4847
2610.2 | Treatment | Buildings & Improvements |  | Effluent Reuse Membrane-WW | 2009-06-30 | 382000 | 162350 | 219650 | 1.2686 | 484603.6321 | 42.5% | 100% | 382000 | 484603.6321
2611 | Treatment | Buildings & Improvements |  | WWTP Generator/Building | 2009-06-30 | 4198310 | 1784281.75 | 2414028.25 | 1.2686 | 5325958.834 | 42.5% | 100% | 4198310 | 5325958.834
2614 | Treatment | Equipment |  | 8LVP-BHC Pressure Blower | 2010-06-30 | 10990 | 10990 | 0 | 1.2358 | 13581.4522 | 100% | 100% | 10990 | 13581.4522
2615 | Treatment | Equipment |  | Heat pump replacement-Operations Bldg | 2010-06-30 | 14649 | 10986.75 | 3662.25 | 1.2358 | 18103.2478 | 75% | 100% | 14649 | 18103.2478
2625 | Treatment | Land |  | WWTP Land Expansion 19.68 acres (sold 9.74 ac) | 2010-06-30 | 980738.08 | 0 | 980738.08 | 1.2358 | 1211997.0328 | 0% | 100% | 980738.08 | 1211997.0328
2626 | Treatment | Equipment |  | Live bottom for composter replacement | 2010-06-30 | 42592 | 31944 | 10648 | 1.2358 | 52635.2333 | 75% | 100% | 42592 | 52635.2333
2627 | Treatment | Equipment |  | Composter conveyor chains (replacement) | 2010-06-30 | 18428 | 18428 | 0 | 1.2358 | 22773.3396 | 100% | 100% | 18428 | 22773.3396
2637 | Treatment | Equipment |  | WWTP Sawdust Dryer | 2010-06-30 | 995912 | 497956.04 | 497955.96 | 1.2358 | 1230748.9773 | 50% | 100% | 995912 | 1230748.9773
2638 | Treatment | Equipment |  | Influent Pump #2 | 2010-06-30 | 35032 | 35032 | 0 | 1.2358 | 43292.5782 | 100% | 100% | 35032 | 43292.5782
2639 | Treatment | Equipment |  | Influent Pump #1 | 2010-06-30 | 35032 | 35032 | 0 | 1.2358 | 43292.5782 | 100% | 100% | 35032 | 43292.5782
2653 | Treatment | Equipment |  | Sludge Pump to Belt Filter Press | 2011-06-30 | 20352 | 18898.29 | 1453.71 | 1.1988 | 24397.9751 | 92.86% | 100% | 20352 | 24397.9751
2667 | Treatment | Buildings & Improvements |  | Security Fencing at WWTP-FEDERAL GRANT | 2011-06-30 | 30181 | 19617.65 | 10563.35 | 1.1988 | 36180.9791 | 65% | 100% | 30181 | 36180.9791
2669 | Treatment | Equipment |  | Jet Milling Machine | 2011-06-30 | 11072 | 10281.18 | 790.82 | 1.1988 | 13273.1123 | 92.86% | 100% | 11072 | 13273.1123
2702 | Treatment | Buildings & Improvements |  | Steel Utility Building and Construction | 2013-06-30 | 44958 | 4495.81 | 40462.19 | 1.1395 | 51227.9963 | 10% | 100% | 44958 | 51227.9963
2719 | Treatment | Equipment |  | Engineering Copies | 2013-06-30 | 8410 | 8410 | 0 | 1.1395 | 9582.8873 | 100% | 0% | 0 | 0
2724 | Treatment | Equipment |  | Sawdust Silo Unloader | 2014-06-30 | 43598 | 5813.08 | 37784.92 | 1.1093 | 48361.5177 | 13.33% | 100% | 43598 | 48361.5177
2734 | Treatment | Equipment |  | WWTP Frontage Sign | 2014-06-30 | 17360 | 1736 | 15624 | 1.1093 | 19256.7537 | 10% | 100% | 17360 | 19256.7537
2797 | Treatment | Equipment |  | Essco Vertical Pump | 2015-12-30 | 14367.73 | 3078.7993 | 11288.9307 | 1.0817 | 15541.8457 | 21.43% | 100% | 14367.73 | 15541.8457
2798 | Treatment | Equipment |  | Cornell DP Pump | 2015-09-23 | 8460 | 846 | 7614 | 1.0817 | 9151.3423 | 10% | 100% | 8460 | 9151.3423
2825 | Treatment | Equipment |  | 7.5 Ton WWTP Heat Pump | 2017-06-22 | 14594 | 486.4667 | 14107.5333 | 1.0817 | 15786.6063 | 3.333% | 100% | 14594 | 15786.6063
2832 | Treatment | Buildings & Improvements |  | Composter Building Roof Replacement | 2017-06-30 | 45019.38 | 1125.4845 | 43893.8955 | 1.0817 | 48698.3162 | 2.5% | 100% | 45019.38 | 48698.3162
2833 | Treatment | Buildings & Improvements |  | Disinfection Building Roof Replacement | 2017-06-30 | 37524.28 | 938.107 | 36586.173 | 1.0817 | 40590.7246 | 2.5% | 100% | 37524.28 | 40590.7246
2834 | Treatment | Equipment |  | WWTP Hypochlorite | 2017-06-30 | 922178.44 | 23054.461 | 899123.979 | 1.0817 | 997537.8893 | 2.5% | 100% | 922178.44 | 997537.8893
2772A | Treatment | Buildings & Improvements |  | 520 W 3rd St - Building | 2015-06-30 | 97689.73 | 24422.4325 | 73267.2975 | 1.0817 | 105672.8317 | 25% | 100% | 97689.73 | 105672.8317
2773A | Treatment | Land |  | 520 W 3rd St - Land | 2015-06-30 | 128581.78 | 0 | 128581.78 | 1.0817 | 139089.3474 | 0% | 100% | 128581.78 | 139089.3474
2806A | Treatment | Equipment |  | WWTP RRE (4th Clarifier) | 2016-06-30 | 4690850.1484 | 351813.7611 | 4339036.3873 | 1.0817 | 5074181.4741 | 7.5% | 100% | 4690850.1484 | 5074181.4741
2806B | Treatment | Equipment |  | WWTP RRE (Dewatering System) | 2016-06-30 | 4184978.4645 | 313873.3848 | 3871105.0797 | 1.0817 | 4526970.4899 | 7.5% | 100% | 4184978.4645 | 4526970.4899
2806C | Treatment | Equipment |  | WWTP RRE (Headworks and Influent Pump Station) | 2016-06-30 | 17160026.7571 | 1287002.0068 | 15873024.7503 | 1.0817 | 18562326.0413 | 7.5% | 100% | 17160026.7571 | 18562326.0413
2813B | Treatment | Equipment |  | Video Inspection System - Vcam-5 control module and Vloc Cam Receiver | 2016-09-14 | 5024.21 | 502.421 | 4521.789 | 1.0817 | 5434.7831 | 10% | 0% | 0 | 0
2824A | Treatment | Buildings & Improvements |  | PWA Building - 500 W 3rd St | 2017-06-30 | 19882.5 | 331.375 | 19551.125 | 1.0817 | 21507.2769 | 1.667% | 100% | 19882.5 | 21507.2769
CIP | Treatment | CIP |  | Villa rd-Haworth to Crestview Culvert Imps. | 2016-06-30 | 594506.45 | 0 | 594506.45 | 1.0817 | 643088.8899 | 0% | 100% | 594506.45 | 643088.8899
CIP | Treatment | CIP |  | Oxidation Ditches (#2) | 2017-06-30 | 145415.49 | 0 | 145415.49 | 1.0817 | 157298.6904 | 0% | 0% | 0 | 0
CIP | Treatment | CIP |  | Oxidation Ditch Rotor Aerator #8 | 2017-06-30 | 59881.2 | 0 | 59881.2 | 1.0817 | 64774.6285 | 0% | 0% | 0 | 0
2898 | Equipment |  |  | Dayton Pump Station System, Pumps, and Piping | 2019-06-30 | 1397283.97 | 244524.6948 | 1152759.2753 | 1.0817 | 1246961.5472 | 17.5% | 50% | 576379.6376 | 576379.6376
2899 | Infrastructure |  |  | Dayton Pump Station Infrastructure | 2019-06-30 | 447683.7 | 39172.3238 | 408511.3763 | 1.0817 | 441894.495 | 8.75% | 50% | 204255.6881 | 204255.6881
2900 | Land |  |  | Dayton Pump Station Land Improvements | 2019-06-30 | 36982.57 |  | 36982.57 | 1.0817 | 40004.7466 | 0% | 50% | 18491.285 | 18491.285
2901 | Buildings & Improvements |  |  | Dayton Pump Station Building Improvements | 2019-06-30 | 54500.62 | 6358.4057 | 48142.2143 | 1.0817 | 52076.3453 | 11.67% | 50% | 24071.1072 | 24071.1072
2902 | Equipment |  |  | Dayton Pump Station Air Conditioning Unit | 2019-06-30 | 10000 | 2333.3333 | 7666.6667 | 1.0817 | 8293.1786 | 23.33% | 50% | 3833.3333 | 3833.3333
2982 | Buildings & Improvements |  |  | Oxidation Ditches | 2022-06-30 | 738822.01 | 18470.5503 | 720351.4598 | 1.0817 | 779217.8211 | 2.5% | 11% | 79238.6606 | 79238.6606
2983 | Infrastructure |  |  | WWTP Solar Panel Project (Solar Field) | 2022-06-30 | 840697.44 | 28023.248 | 812674.192 | 1.0817 | 879085.0697 | 3.333% | 0% | 0 | 0
2984 | Buildings & Improvements |  |  | Operations Building Remodel | 2022-06-30 | 436521.04 | 10913.026 | 425608.014 | 1.0817 | 460388.2519 | 2.5% | 0% | 0 | 0
2985 | Buildings & Improvements |  |  | WWTP Sawdust Bays | 2022-06-30 | 807569.34 | 20189.2335 | 787380.1065 | 1.0817 | 851723.9782 | 2.5% | 0% | 0 | 0
CIP 0003 | CIP |  |  | Chehalem Sewer Extension | 2019-06-30 | 1544095.2 | 0 | 1544095.2 | 1.0817 | 1670277.0309 | 0% | 93% | 1436008.536 | 1436008.536
CIP 0021 | CIP |  |  | PWM Building C - Office Space Addition | 2020-06-30 | 6622.28 | 0 | 6622.28 | 1.0817 | 7163.4457 | 0% | 20% | 1324.456 | 1324.456
CIP 0024 | CIP |  |  | Programmable Logic Controller | 2021-06-30 | 22678.74 | 0 | 22678.74 | 1.0817 | 24532.0227 | 0% | 0% | 0 | 0
CIP 0030 | CIP |  |  | N Elliott Wastewater Pipeline | 2022-06-30 | 31051.12 | 0 | 31051.12 | 1.0817 | 33588.5848 | 0% | 0% | 0 | 0
CIP 0034 | CIP |  |  | Fuel Station | 2022-06-30 | 18301.99 | 0 | 18301.99 | 1.0817 | 19797.6093 | 0% | 20% | 3660.398 | 3660.398
Sewer Lines 0010 | Collection | Infrastructure |  | 4,964 ft of WW Pipe & Grouting of 101 lateral connections | 2018-06-30 | 211638.85 | 23809.3706 | 187829.4794 | 1.0817 | 203178.7063 | 11.25% | 50% | 93914.7397 | 93914.7397
Sewer Lines 0011 | Collection | Infrastructure |  | 8th Street Utility Replacement (Sewer Pipe) | 2018-06-30 | 103936.15 | 11692.8169 | 92243.3331 | 1.0817 | 99781.361 | 11.25% | 50% | 46121.6666 | 46121.6666
Sewer Lines 0012 | Collection | Infrastructure | Contributed | Nova Grace Developer Contributed | 2018-06-30 | 19075 | 2145.9375 | 16929.0625 | 1.0817 | 18312.4876 | 11.25% | 0% | 0 | 0
Sewer Lines 0013 | Collection | Infrastructure | Contributed | Columbia Estates Developer Contributed | 2018-06-30 | 92650 | 10423.125 | 82226.875 | 1.0817 | 88946.3685 | 11.25% | 0% | 0 | 0
Sewer Lines 0014 | Collection | Infrastructure | Contributed | Gracie's 1, 2, and 3 Developer Contributed | 2018-06-30 | 405589 | 45628.7625 | 359960.2375 | 1.0817 | 389375.8084 | 11.25% | 0% | 0 | 0
Sewer Lines 0015 | Collection | Infrastructure | Contributed | Hazelwood Developer Contributed | 2018-06-30 | 138237 | 15551.6625 | 122685.3375 | 1.0817 | 132711.0539 | 11.25% | 0% | 0 | 0
Sewer Lines 0016 | Collection | Infrastructure | Contributed | Dutchman Developer Contributed | 2019-06-30 | 108141 | 9462.3375 | 98678.6625 | 1.0817 | 106742.5787 | 8.75% | 0% | 0 | 0
Sewer Lines 0017 | Collection | Infrastructure | Contributed | Page Landing Developer Contributed | 2019-06-30 | 79705 | 6974.1875 | 72730.8125 | 1.0817 | 78674.2978 | 8.75% | 0% | 0 | 0
Sewer Lines 0018 | Collection | Infrastructure |  | Fifth St Pipe Replacement | 2019-06-30 | 427942.46 | 29955.9722 | 397986.4878 | 1.0817 | 430509.5237 | 7% | 50% | 198993.2439 | 198993.2439
Sewer Lines 0019 | Collection | Infrastructure | Contributed | Dutchman 2 Developer Contributed | 2020-06-30 | 39884 | 2492.75 | 37391.25 | 1.0817 | 40446.8235 | 6.25% | 0% | 0 | 0
Sewer Lines 0020 | Collection | Infrastructure | Contributed | Kings Landing 2 Developer Contributed | 2020-06-30 | 57230 | 3576.875 | 53653.125 | 1.0817 | 58037.6018 | 6.25% | 0% | 0 | 0
Sewer Lines 0021 | Collection | Infrastructure | Contributed | Harding School Developer Contributed | 2020-06-30 | 34456 | 2153.5 | 32302.5 | 1.0817 | 34942.2262 | 6.25% | 0% | 0 | 0
Sewer Lines 0022 | Collection | Infrastructure | Contributed | Eastland Developer Contributed | 2020-06-30 | 31152 | 1947 | 29205 | 1.0817 | 31591.6018 | 6.25% | 0% | 0 | 0
Sewer Lines 0023 | Collection | Infrastructure | Contributed | River Run 1 & 2 Developer Contributed | 2020-06-30 | 168858 | 10553.625 | 158304.375 | 1.0817 | 171240.8415 | 6.25% | 0% | 0 | 0
Sewer Lines 0024 | Collection | Infrastructure | Contributed | River Run 1 & 2 Off Site Developer Contributed | 2020-06-30 | 199656 | 12478.5 | 187177.5 | 1.0817 | 202473.4478 | 6.25% | 50% | 93588.75 | 93588.75
Sewer Lines 0025 | Collection | Infrastructure |  | Sixth Street Sewer Rehab | 2020-06-30 | 606010.27 | 37875.6419 | 568134.6281 | 1.0817 | 614561.9906 | 6.25% | 50% | 284067.3141 | 284067.3141
Sewer Lines 0026 | Collection | Infrastructure |  | Sewer / Lateral replacements 5th Street - Wynooski | 2020-06-30 | 372980.04 | 23311.2525 | 349668.7875 | 1.0817 | 378243.3519 | 6.25% | 50% | 174834.3937 | 174834.3937
Sewer Lines 0027 | Collection | Infrastructure |  | Wastewater Line Replacements - 2nd, 3rd, 6th st | 2020-06-30 | 710171.6 | 44385.725 | 665785.875 | 1.0817 | 720193.1944 | 6.25% | 50% | 332892.9375 | 332892.9375
Sewer Lines 0028 | Collection | Infrastructure | Contributed | Kings Landing 3&4 Developer Contributed | 2021-06-30 | 164820 | 6180.75 | 158639.25 | 1.0817 | 171603.0822 | 3.75% | 0% | 0 | 0
Sewer Lines 0029 | Collection | Infrastructure |  | Hess Creek Lining | 2022-06-30 | 27530 | 344.125 | 27185.875 | 1.0817 | 29407.476 | 1.25% | 0% | 0 | 0
Sewer Lines 0030 | Collection | Infrastructure |  | Crestview Drive Sewer | 2022-06-30 | 468225.49 | 5852.8186 | 462372.6714 | 1.0817 | 500157.2783 | 1.25% | 100% | 462372.6714 | 462372.6714
Sewer Lines 0031 | Collection | Infrastructure | Contributed | Riverlands Developer Contributed | 2022-06-30 | 70555 | 881.9375 | 69673.0625 | 1.0817 | 75366.6717 | 1.25% | 0% | 0 | 0
Sewer Lines 0032 | Collection | Infrastructure | Contributed | Edgewater PUD Developer Contributed | 2022-06-30 | 73432 | 917.9 | 72514.1 | 1.0817 | 78439.8758 | 1.25% | 0% | 0 | 0
Sewer Lines 0033 | Collection | Infrastructure | Contributed | Crestview Crossing PUD Ph 1 Developer Contributed | 2022-06-30 | 711852 | 8898.15 | 702953.85 | 1.0817 | 760398.4971 | 1.25% | 20% | 140590.77 | 140590.77
Sewer Lines 0034 | Collection | Infrastructure | Contributed | Crestview Crossing Offsite Sewer Ext Developer Contributed | 2022-06-30 | 123711 | 1546.3875 | 122164.6125 | 1.0817 | 132147.7758 | 1.25% | 50% | 61082.3063 | 61082.3063
| Total |  |  |  |  | 79551018.05 | 28357566.5537 | 51193451.4963 |  | 125488582.3121 |  |  | 45265529.7651 | 53661201.7581
|  |  |  | Outstanding Debt | [9 empty] | -20271897
Reserves Available
[13 empty] | Total SDC Eligible | 33389304.7581

## CIP List
Project | 0-5 Years | 5-10 Years | 10-20 Years | Cost Estimate | % SDC Eligible | $ Eligible
WWTP Hydraulic Improvements |  |  |  | 480000 | 14.37% | 69000
Oxidation Ditch Expansion (re-priced 2023) |  |  |  | 15500000 | 22.1% | 3425681.9525
Equalization Basin Rehabilitation |  |  |  | 980000 | 0% | 0
Chlorine Contact Expansion |  |  |  | 2938000 | 14.13% | 415000
Secondary Clarifier #5 |  |  |  | 7500000 | 22.11% | 1658000
Hess Creek Phase 1 - CIPP |  |  |  | 1351000 | 2% | 27020
Hess Creek Phase 2 - Parallel Gravity Line |  |  |  | 7460000 | 1.97% | 146978.493
Springbrook Road |  |  |  | 5314000 | 19.72% | 1048113.0653
Pinehurst Court |  |  |  | 318000 | 0% | 0
Maintenance Yard Improvements |  |  |  | 804000 | 20.07% | 161345.0847
Lift Station Improvements (short term) |  |  |  | 118000 | 0.9797% | 1156.0532
I/I Projects |  |  |  | 2700000 | 50% | 1350000
Hess Creek Phase 3 - Lift Station |  |  |  | 2539000 | 1.98% | 50277.2277
River Street |  |  |  | 5103000 | 12.34% | 629566.932
HWY 240 Lift Station Upsize |  |  |  | 642000 | 19.16% | 123026.4317
Main and Wynooski Streets |  |  |  | 616000 | 1.22% | 7512.1951
Lift Station Improvements (long-term) |  |  |  | 459000 | 10.93% | 50184
I/I Projects |  |  |  | 3150000 | 50% | 1575000
Chehalem Drive Phase 1 - 20-year Infrastructure |  |  |  | 2217000 | 100% | 2217000
Riverfront Infrastructure |  |  |  | 4787000 | 100% | 4787000
Riverfront Industrial Infrastructure |  |  |  | 1154000 | 100% | 1154000
Providence Infrastructure |  |  |  | 1734000 | 100% | 1734000
Chehalem Drive Phase 2 - Buildout Infrastructure |  |  |  | 990000 | 0% | 0
I/I Projects |  |  |  | 3150000 | 50% | 1575000
0
Chehalem and Creekside LS Displacement/Future Trunkline |  |  |  | 3492000 | 25.46% | 889000
Charles and Andrew LS Displacement |  |  |  | 1109000 | 0% | 0
Dehydration Unit Burner Rebuild |  |  |  | 65000 | 0% | 0
Wastewater Master Plan (3) |  |  |  | 300000 | 50% | 150000
76970000
From the 2021 Wastewater Master Plan
[5 empty] | TOTAL CIP SDC COSTS | 23243861.4353
[5 empty] | Reserves | 11820392
11423469.4353